## Connectivity Audit (hidden)
Current SQL Instance Name | DESKTOP-BAV06SS\SAGE_ESTIMATING
Current Estimate Catalog Name | Estimates_ExportTesting
Current Estimate ID | 47
Current Estimate Name | Sample Estimate - Warehouse Project
Current Estimate Branch
Current Estimate User | DESKTOP-BAV06SS\MICROSOFT
Other Open Estimates by User | Name | ID | Branch
None

## Estimate Validation (hidden)
Validation Check | Status
Verify that the first five (5) rows in the totals page are category subtotals | Passed
Verify that all totals page addons have valid distribution criteria | Passed
Verify that recalculated addon amounts match stored application values | Passed
Verify the presence of at least two (2) different row sort values | Passed
Verify the presence of at least two (2) different column sort values | Passed
Verify that all column sort ID codes do not exceed 31 characters | Passed

## Crosstab Summary
| Total Project |  | Structural Concrete |  | Structural Steel |  | Miscellaneous Metals |  | Fire & Smoke Protection |  | Doors, Frames & Hardware |  | Specialty Doors & Frames |  | Drywall, Carpentry & Acoustical |  | Ceramic Tile |  | Flooring |  | Painting & Coating |  | Toilet Partitions & Accessories |  | Fabricated Engineered Structures |  | Fire Suppression |  | Plumbing |  | HVAC |  | Electrical
| 17500 | gsf | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
Description | Amount | Unit Cost | Amount | Unit Cost | Amount | Unit Cost | Amount | Unit Cost | Amount | Unit Cost | Amount | Unit Cost | Amount | Unit Cost | Amount | Unit Cost | Amount | Unit Cost | Amount | Unit Cost | Amount | Unit Cost | Amount | Unit Cost | Amount | Unit Cost | Amount | Unit Cost | Amount | Unit Cost | Amount | Unit Cost | Amount | Unit Cost
031113.15 - Column Formwork | 15915.6 | 0.90946 | 15915.6
031113.35 - Footing Formwork | 18943.55 | 1.0825 | 18943.55
031113.55 - Slab/Mat Formwork | 1438.44 | 0.082197 | 1438.44
031113.65 - Wall Formwork | 62061.07 | 3.5463 | 62061.07
031113.90 - Miscellaneous Formwork | 4449.28 | 0.25424 | 4449.28
031516.00 - Concrete Construction Joints | 2072.82 | 0.11845 | 2072.82
031550.00 - Miscellaneous Concrete Accessories | 42101.93 | 2.4058 | 42101.93
032111.00 - Plain Steel Reinforcement Bars | 34538.61 | 1.9736 | 34538.61
032211.00 - Plain Steel Welded Wire Fabric Reinforcing | 2143.56 | 0.12249 | 2143.56
033100.15 - Column Concrete | 6085.88 | 0.34776 | 6085.88
033100.20 - Elevated Slab Concrete | 8181.75 | 0.46753 | 8181.75
033100.35 - Footing Concrete | 9656.42 | 0.5518 | 9656.42
033100.55 - Slab/Mat Concrete | 45173.15 | 2.5813 | 45173.15
033100.65 - Wall Concrete | 12076.87 | 0.69011 | 12076.87
033529.00 - Tooled Concrete Finishing | 25892 | 1.4795 | 25892
033923.00 - Membrane Concrete Curing | 3723.93 | 0.2128 | 3723.93
036213.00 - Non-Metallic Non-Shrink Grouting | 4465.72 | 0.25518 | 4465.72
051223.00 - Structural Steel for Buildings | 15276.18 | 0.87292 |  |  | 15276.18
052119.00 - Open Web Steel Joist Framing | 27667.93 | 1.581 |  |  | 27667.93
053113.00 - Steel Floor Decking | 15228.5 | 0.8702 |  |  | 15228.5
055113.00 - Metal Pan Stairs | 14037.51 | 0.80214 |  |  |  |  | 14037.51
055213.00 - Pipe & Tube Railings | 11316.62 | 0.64666 |  |  |  |  | 11316.62
061100.10 - Blocking | 646.4 | 0.036937 | [12 empty] | 646.4
072113.00 - Board Insulation | 4088.79 | 0.23365 | 4088.79
072116.00 - Blanket Insulation | 6542.58 | 0.37386 | [12 empty] | 6542.58
078116.00 - Cementitious Fireproofing | 9661.18 | 0.55207 | [6 empty] | 9661.18
081213.00 - Hollow Metal Frames | 10534.74 | 0.60199 | [8 empty] | 10534.74
081313.00 - Hollow Metal Doors | 4244.73 | 0.24256 | [8 empty] | 4244.73
081416.00 - Flush Wood Doors | 6014.08 | 0.34366 | [8 empty] | 6014.08
083326.00 - Overhead Coiling Grilles | 4896.43 | 0.2798 | [10 empty] | 4896.43
083613.00 - Sectional Doors | 8842.51 | 0.50529 | [10 empty] | 8842.51
085123.00 - Steel Windows | 1076.75 | 0.061529 | [8 empty] | 1076.75
087100.00 - Door Hardware | 12090.1 | 0.69086 | [8 empty] | 12090.1
092213.00 - Metal Furring | 6996.89 | 0.39982 | [12 empty] | 6996.89
092216.00 - Non-Structural Metal Framing | 12997.79 | 0.74273 | [12 empty] | 12997.79
092423.00 - Cement Stucco | 609.91 | 0.034852 | [14 empty] | 609.91
092900.00 - Gypsum Board | 26276.15 | 1.5015 | [12 empty] | 26276.15
093013.00 - Ceramic Tiling | 11835.84 | 0.67633 | [14 empty] | 11835.84
095113.00 - Acoustical Panel Ceilings | 10647.59 | 0.60843 | [12 empty] | 10647.59
095323.00 - Metal Acoustical Ceiling Suspension Assemblies | 7486.57 | 0.4278 | [12 empty] | 7486.57
096513.00 - Resilient Base & Accessories | 3375.26 | 0.19287 | [16 empty] | 3375.26
096519.00 - Resilient Tile Flooring | 1311.63 | 0.07495 | [16 empty] | 1311.63
096813.00 - Tile Carpeting | 17991.13 | 1.0281 | [16 empty] | 17991.13
099123.00 - Interior Painting | 4030.38 | 0.23031 | [18 empty] | 4030.38
102113.13 - Metal Toilet Compartments | 6059.38 | 0.34625 | [20 empty] | 6059.38
102813.00 - Toilet Accessories | 496.65 | 0.02838 | [20 empty] | 496.65
133419.00 - Metal Building Systems | 352480.71 | 20.1418 | [22 empty] | 352480.71
210000.01 - Fire Suppression - Subcontractors | 70000 | 4 | [24 empty] | 70000
220000.01 - Plumbing - Subcontractors | 131250 | 7.5 | [26 empty] | 131250
230000.01 - HVAC - Subcontractors | 183750 | 10.5 | [28 empty] | 183750
260000.01 - Electrical - Subcontractors | 210000 | 12 | [30 empty] | 210000
Trade Cost Subtotal | 1508681.49 | 86.2104 | 303009.37 | 0 | 58172.61 | 0 | 25354.13 | 0 | 9661.18 | 0 | 33960.4 | 0 | 13738.94 | 0 | 71593.97 | 0 | 12445.75 | 0 | 22678.02 | 0 | 4030.38 | 0 | 6556.03 | 0 | 352480.71 | 0 | 70000 | 0 | 131250 | 0 | 183750 | 0 | 210000 | 0
General Conditions | 105607.701 | 6.0347 | 21210.655 |  | 4072.083 |  | 1774.789 |  | 676.283 |  | 2377.228 |  | 961.726 |  | 5011.578 |  | 871.202 |  | 1587.461 |  | 282.127 |  | 458.922 |  | 24673.649 |  | 4900 |  | 9187.5 |  | 12862.499 |  | 14699.999
Construction Cost Subtotal | 1614289.191 | 92.2451 | 324220.025 | 0 | 62244.693 | 0 | 27128.919 | 0 | 10337.463 | 0 | 36337.628 | 0 | 14700.666 | 0 | 76605.548 | 0 | 13316.952 | 0 | 24265.481 | 0 | 4312.507 | 0 | 7014.952 | 0 | 377154.359 | 0 | 74900 | 0 | 140437.5 | 0 | 196612.499 | 0 | 224699.999 | 0
Fee | 80714.459 | 4.6123 | 16211.001 |  | 3112.235 |  | 1356.446 |  | 516.873 |  | 1816.881 |  | 735.033 |  | 3830.277 |  | 665.848 |  | 1213.274 |  | 215.625 |  | 350.748 |  | 18857.718 |  | 3745 |  | 7021.875 |  | 9830.625 |  | 11235
Insurance | 25425.048 | 1.4529 | 5106.464 |  | 980.354 |  | 427.28 |  | 162.815 |  | 572.318 |  | 231.535 |  | 1206.537 |  | 209.742 |  | 382.181 |  | 67.922 |  | 110.485 |  | 5940.18 |  | 1179.675 |  | 2211.89 |  | 3096.646 |  | 3539.024
Grand Total | 1720428.698 | 98.3102 | 345537.49 | 0 | 66337.282 | 0 | 28912.645 | 0 | 11017.151 | 0 | 38726.827 | 0 | 15667.234 | 0 | 81642.362 | 0 | 14192.542 | 0 | 25860.936 | 0 | 4596.054 | 0 | 7476.185 | 0 | 401952.257 | 0 | 79824.675 | 0 | 149671.265 | 0 | 209539.77 | 0 | 239474.023 | 0

## Addon Exception Audit (hidden)
The following addon(s) cannot be allocated and/or distributed for the reason(s) indicated and therefore the crosstab analysis cannot be generated. Please return to the estimate, adjust the addons as necessary to remedy the exception(s) listed below and run the export again. |  |  | No Categories Selected | Invalid Range Selected
Row | Description | Amount

## Addon Validation (hidden)
Position | Description | Current Dollar Amounts |  | Current Difference
|  | Calculated within Export Routine | Stored in Sage Estimating | Amount | %
1 | Labor | 681581.46 | 681581.46 | 0 | 0%
2 | Material | 740574.07 | 740574.07 | 0 | 0%
3 | Subcontract | 0 | 0 | 0 | 0%
4 | Equipment | 86525.96 | 86525.96 | 0 | 0%
5 | Other | 0 | 0 | 0 | 0%
6 | Trade Cost Subtotal | 1508681.49 | 1508681.49
7 | General Conditions | 105607.7 | 105607.7 | 0 | 0%
8 | Construction Cost Subtotal | 1614289.19 | 1614289.19
9 | Fee | 80714.46 | 80714.46 | 0 | 0%
10 | Insurance | 25425.05 | 25425.05 | 0 | 0%

## 0331
Structural Concrete | 0
Description | Quantity | Unit | Cost/Unit | Amount
031113.15 - Column Formwork | 0 |  |  | 15915.6
Column forms; square, job built; 36" x 36"; 4 uses | 1055.205 | sf | 15.0829 | 15915.6
031113.35 - Footing Formwork | 0 |  |  | 18943.55
Footing forms, job built; continuous wall; 4 uses | 1170 | sf | 10.2087 | 11944.21
Footing forms, job built; column footing, spread; 4 uses | 582 | sf | 12.0264 | 6999.34
031113.55 - Slab/Mat Formwork | 0 |  |  | 1438.44
Slab forms, job built; edge; 6" high; 4 uses | 99 | lf | 9.58 | 948.42
Slab forms, job built; edge; 12" high; 4 uses | 48 | lf | 10.2088 | 490.02
031113.65 - Wall Formwork | 0 |  |  | 62061.07
Wall forms, job built; exterior; up to 8' high; 4 uses | 5850 | sf | 10.6087 | 62061.07
031113.90 - Miscellaneous Formwork | 0 |  |  | 4449.28
Keyway form (5 uses); 2" x 4" | 585 | lf | 5.5475 | 3245.3
Chamfer strip; wood; 3/4" wide | 444.636 | lf | 2.7078 | 1203.98
031516.00 - Concrete Construction Joints | 0 |  |  | 2072.82
Expansion joint, premolded, in slabs; polyethylene foam; 1/2" x 6" | 550 | lf | 3.7688 | 2072.82
031550.00 - Miscellaneous Concrete Accessories | 0 |  |  | 42101.93
Vapor barrier; 6 mil polyethylene | 13673 | sf | 0.32708 | 4472.13
Gravel porous fill, under floor slab, 3/4" stone | 258.112 | cy | 145.7886 | 37629.8
032111.00 - Plain Steel Reinforcement Bars | 0 |  |  | 34538.61
Wall rebar; concrete; #3 - #4 | 0.86 | ton | 3263.3953 | 2806.52
Column rebar; #3 - #4 | 0.272 | ton | 4651.8015 | 1265.29
Column rebar; #5 - #6 | 0.383 | ton | 3809.7389 | 1459.13
Footing rebar; grade 60; #3 - #4 | 1.235 | ton | 3494.8097 | 4316.09
Footing rebar; grade 60; #5 - #6 | 0.986 | ton | 3038.3976 | 2995.86
Slab rebar; #3 - #4 | 6.208 | ton | 3494.8003 | 21695.72
032211.00 - Plain Steel Welded Wire Fabric Reinforcing | 0 |  |  | 2143.56
Slab wire mesh; standard; 6" x 6"; W1.4 x W1.4 | 3125 | sf | 0.68594 | 2143.56
033100.15 - Column Concrete | 0 |  |  | 6085.88
Column concrete; 2500 or 3000 psi; by pump | 22.614 | cy | 269.12 | 6085.88
033100.20 - Elevated Slab Concrete | 0 |  |  | 8181.75
Elevated slab concrete; 2500 or 3000 psi; by pump | 40.992 | cy | 199.5938 | 8181.75
033100.35 - Footing Concrete | 0 |  |  | 9656.42
Continuous footing concrete; 2500 or 3000 psi; by chute | 28.889 | cy | 171.7553 | 4961.84
Spread footing concrete; 2500 or 3000 psi; under 5 cy; by chute | 27.333 | cy | 171.755 | 4694.58
033100.55 - Slab/Mat Concrete | 0 |  |  | 45173.15
Slab on grade concrete; 3500 or 4000 psi; by chute | 259.89 | cy | 173.8164 | 45173.15
033100.65 - Wall Concrete | 0 |  |  | 12076.87
Wall concrete; 2500 or 3000 psi; to 4'; by chute | 72.222 | cy | 167.2187 | 12076.87
033529.00 - Tooled Concrete Finishing | 0 |  |  | 25892
Floor finish; screed | 17063 | sf | 1.1908 | 20318.96
Wall finish; break ties and patch holes | 2925 | sf | 1.9053 | 5573.04
033923.00 - Membrane Concrete Curing | 0 |  |  | 3723.93
Concrete curing; sprayed membrane; slabs | 17063 | sf | 0.21825 | 3723.93
036213.00 - Non-Metallic Non-Shrink Grouting | 0 |  |  | 4465.72
Grouting for bases; non-shrink; non-metallic; 2" deep | 126.333 | sf | 35.3488 | 4465.72
072113.00 - Board Insulation | 0 |  |  | 4088.79
Board insulation; polystyrene; wall; 2" thick, R8.33 | 2475 | sf | 1.652 | 4088.79

## 0510
Structural Steel | 0
Description | Quantity | Unit | Cost/Unit | Amount
051223.00 - Structural Steel for Buildings | 0 |  |  | 15276.18
Structural steel; beams and girders, A-36; bolted | 1.848 | ton | 4203.5173 | 7768.1
Structural steel; tube; greater than 6" wide rectangular; heavy sections | 1.412 | ton | 5317.3371 | 7508.08
052119.00 - Open Web Steel Joist Framing | 0 |  |  | 27667.93
Metal joist; K series | 9.762 | ton | 2834.2481 | 27667.93
053113.00 - Steel Floor Decking | 0 |  |  | 15228.5
Metal deck; open type, galvanized; 1 1/2" deep; 20 ga | 3125 | sf | 4.8731 | 15228.5

## 0550
Miscellaneous Metals | 0
Description | Quantity | Unit | Cost/Unit | Amount
055113.00 - Metal Pan Stairs | 0 |  |  | 14037.51
Metal stair; pan type with cement fill, steel; per riser; tread; 4' wide | 21 | each | 413.5652 | 8684.87
Metal stair; pan type with cement fill, steel; per riser; landing | 41 | sf | 130.5522 | 5352.64
055213.00 - Pipe & Tube Railings | 0 |  |  | 11316.62
Railing, pipe; 1 1/2" dia, welded steel; 3-rail; galvanized | 120 | lf | 81.5522 | 9786.26
Railing, pipe; 1 1/2" dia, welded steel; wall mounted, single rail; galvanized | 35 | lf | 43.7246 | 1530.36

## 0780
Fire & Smoke Protection | 0
Description | Quantity | Unit | Cost/Unit | Amount
078116.00 - Cementitious Fireproofing | 0 |  |  | 9661.18
Fireproofing; sprayed on; 1" thick; on beams | 387.273 | sf | 3.3803 | 1309.08
Fireproofing; sprayed on; 1" thick; on columns | 120.885 | sf | 3.1513 | 380.94
Fireproofing; sprayed on; 1" thick; on decks; fluted surface | 3125 | sf | 2.5508 | 7971.16

## 0810
Doors, Frames & Hardware | 0
Description | Quantity | Unit | Cost/Unit | Amount
081213.00 - Hollow Metal Frames | 0 |  |  | 10534.74
Hollow metal frame, stock; 16 ga; 6 3/4" x 1 3/4"; 3'-0" x 7'-0" | 5 | each | 327.762 | 1638.81
Hollow metal frame, stock; 16 ga; 6 3/4" x 1 3/4"; 6'-0" x 7'-0" | 1 | each | 435.35 | 435.35
Hollow metal frame, stock; 16 ga; 4 3/4" x 1 3/4"; sidelight, complete; 1'-0" x 7'-2" | 7 | each | 562.7614 | 3939.33
Hollow metal frame, stock; 16 ga; 5 3/4" x 1 3/4"; 3'-0" x 7'-0" | 13 | each | 317.7615 | 4130.9
Hollow metal frame, stock; 16 ga; 5 3/4" x 1 3/4"; 6'-0" x 7'-0" | 1 | each | 390.35 | 390.35
081313.00 - Hollow Metal Doors | 0 |  |  | 4244.73
Flush hollow metal door; heavy duty, unrated; 18 ga; 1 3/4" thick; 3'-0" x 7'-0" | 7 | each | 606.39 | 4244.73
081416.00 - Flush Wood Doors | 0 |  |  | 6014.08
Wood door; solid core; 1 3/4" thick; birch faced; 3'-0" x 7'-0" | 15 | each | 400.9387 | 6014.08
085123.00 - Steel Windows | 0 |  |  | 1076.75
Steel window, primed; industrial; fixed sash | 18 | sf | 59.8194 | 1076.75
087100.00 - Door Hardware | 0 |  |  | 12090.1
Hinges; 4" x 4" butts, steel, standard | 33 | pair | 31 | 1023
Latchset, heavy duty; cylindrical | 1 | each | 255.47 | 255.47
Latchset, heavy duty; mortise | 1 | each | 299.75 | 299.75
Lockset, heavy duty; cylindrical | 14 | each | 370.4686 | 5186.56
Mortise locks and latchsets, chrome; entry lockset | 6 | each | 402.2917 | 2413.75
Door closer; surface mounted, traditional type, parallel arm; heavy duty | 7 | each | 415.9386 | 2911.57

## 0830
Specialty Doors & Frames | 0
Description | Quantity | Unit | Cost/Unit | Amount
083326.00 - Overhead Coiling Grilles | 0 |  |  | 4896.43
Top coiling grille, manually operated, steel or aluminum; opening; 6' high x 16' wide | 1 | each | 4896.43 | 4896.43
083613.00 - Sectional Doors | 0 |  |  | 8842.51
Sectional metal overhead door, complete; commercial grade; 12' x 12' | 3 | each | 2947.5033 | 8842.51

## 0920
Drywall, Carpentry & Acoustical | 0
Description | Quantity | Unit | Cost/Unit | Amount
061100.10 - Blocking | 0 |  |  | 646.4
Blocking; steel construction; walls; 2" x 6" | 72 | lf | 8.9778 | 646.4
072116.00 - Blanket Insulation | 0 |  |  | 6542.58
Batt insulation; wall, fiberglass; unfaced; 4" thick, R11 | 4700 | sf | 1.392 | 6542.58
092213.00 - Metal Furring | 0 |  |  | 6996.89
Metal framing; furring; on walls; 7/8" channel; 16" o.c. | 1987.5 | sf | 3.5204 | 6996.89
092216.00 - Non-Structural Metal Framing | 0 |  |  | 12997.79
Metal framing; studs, non-load bearing, galvanized; 3 5/8"; 20 ga; 16" o.c. | 4700 | sf | 2.7655 | 12997.79
092900.00 - Gypsum Board | 0 |  |  | 26276.15
Drywall; plasterboard; 5/8"; nailed or screwed to walls | 10937.5 | sf | 1.5554 | 17012.52
Drywall; add for fire resistant | 10487.5 | sf | 0.12 | 1258.5
Drywall; add for water resistant | 450 | sf | 0.19 | 85.5
Drywall; add for taping and finishing joints; average | 10937.5 | sf | 0.72408 | 7919.63
095113.00 - Acoustical Panel Ceilings | 0 |  |  | 10647.59
Acoustical panels; mineral fiber; 3/4" thick; 2' x 2' | 2920 | sf | 3.6464 | 10647.59
095323.00 - Metal Acoustical Ceiling Suspension Assemblies | 0 |  |  | 7486.57
Ceiling suspension system; T-bar; 2' x 2' | 2920 | sf | 2.5639 | 7486.57

## 0930
Ceramic Tile | 0
Description | Quantity | Unit | Cost/Unit | Amount
092423.00 - Cement Stucco | 0 |  |  | 609.91
Scratch coat; for ceramic tile | 46.667 | sy | 13.0694 | 609.91
093013.00 - Ceramic Tiling | 0 |  |  | 11835.84
Tile; glazed ceramic wall; 4 1/4" x 4 1/4"; average | 420 | sf | 12.0497 | 5060.86
Tile; glazed ceramic base; 4 1/4" high; average | 105 | lf | 17.7745 | 1866.32
Tile; unglazed ceramic flooring; portland cement bed, cushion edge, face mounted; 2" x 2" | 275 | sf | 17.8497 | 4908.66

## 0960
Flooring | 0
Description | Quantity | Unit | Cost/Unit | Amount
096513.00 - Resilient Base & Accessories | 0 |  |  | 3375.26
Resilient wall base, vinyl; group 1; 4" high | 690 | lf | 4.8917 | 3375.26
096519.00 - Resilient Tile Flooring | 0 |  |  | 1311.63
Resilient flooring; solid vinyl tile, 1/8" thick, 12" x 12"; solid colors | 140 | sf | 9.3688 | 1311.63
096813.00 - Tile Carpeting | 0 |  |  | 17991.13
Carpet; tile; foam backed; average | 2560 | sf | 7.0278 | 17991.13

## 0990
Painting & Coating | 0
Description | Quantity | Unit | Cost/Unit | Amount
099123.00 - Interior Painting | 0 |  |  | 4030.38
Paint ceilings; spray; first coat; average | 20 | sf | 0.3755 | 7.51
Paint ceilings; spray; second coat; average | 20 | sf | 0.3265 | 6.53
Paint walls; spray; first coat; average | 6735 | sf | 0.30625 | 2062.6
Paint walls; spray; second coat; average | 6735 | sf | 0.29009 | 1953.74

## 1028
Toilet Partitions & Accessories | 0
Description | Quantity | Unit | Cost/Unit | Amount
102113.13 - Metal Toilet Compartments | 0 |  |  | 6059.38
Toilet partition; metal; floor mounted | 2 | each | 1036.875 | 2073.75
Toilet partition; wheelchair accessible; painted metal; floor mounted | 2 | each | 1436.875 | 2873.75
Toilet partition; urinal screen; painted metal; floor mounted | 2 | each | 555.94 | 1111.88
102813.00 - Toilet Accessories | 0 |  |  | 496.65
Grab bar, wall mounted; 1 1/2" dia; stainless steel; 36" long | 2 | each | 119.13 | 238.26
Grab bar, wall mounted; 1 1/2" dia; stainless steel; 42" long | 2 | each | 129.195 | 258.39

## 1334
Fabricated Engineered Structures | 0
Description | Quantity | Unit | Cost/Unit | Amount
133419.00 - Metal Building Systems | 0 |  |  | 352480.71
Pre-engineered metal building; 100' x 150'; 20' eave height | 14060 | sf | 25.0698 | 352480.71

## 2100
Fire Suppression | 0
Description | Quantity | Unit | Cost/Unit | Amount
210000.01 - Fire Suppression - Subcontractors | 0 |  |  | 70000
Fire Suppression Quote | 17500 | gsf | 4 | 70000

## 2200
Plumbing | 0
Description | Quantity | Unit | Cost/Unit | Amount
220000.01 - Plumbing - Subcontractors | 0 |  |  | 131250
Plumbing Quote | 17500 | gsf | 7.5 | 131250

## 2300
HVAC | 0
Description | Quantity | Unit | Cost/Unit | Amount
230000.01 - HVAC - Subcontractors | 0 |  |  | 183750
HVAC Quote | 17500 | gsf | 10.5 | 183750

## 2600
Electrical | 0
Description | Quantity | Unit | Cost/Unit | Amount
260000.01 - Electrical - Subcontractors | 0 |  |  | 210000
Electrical Power & Lighting Quote | 17500 | gsf | 12 | 210000