## Connectivity Audit (hidden)
Current SQL Instance Name | DESKTOP-BAV06SS\SAGE_ESTIMATING
Current Estimate Catalog Name | Estimates_ExportTesting
Current Estimate ID | 47
Current Estimate Name | Sample Estimate - Warehouse Project
Current Estimate Branch
Current Estimate User | DESKTOP-BAV06SS\MICROSOFT
Other Open Estimates by User | Name | ID | Branch
None

## Estimate Validation (hidden)
Validation Check | Status
Verify that the first five (5) rows in the totals page are category subtotals | Passed
Verify that all totals page addons have valid distribution criteria | Passed
Verify that recalculated addon amounts match stored application values | Passed

## Addon Exception Audit (hidden)
The following addon(s) cannot be allocated for the reason(s) indicated and therefore the requested addon distribution cannot be generated. Please return to the estimate, adjust the addons as necessary to remedy the exception(s) listed below and run the export again. |  |  | No Categories Selected | Invalid Range Selected
Row | Description | Amount

## Addon Validation (hidden)
Position | Description | Current Dollar Amounts |  | Current Difference
|  | Calculated within Export Routine | Stored in Sage Estimating | Amount | %
1 | Labor | 681581.46 | 681581.46 | 0 | 0%
2 | Material | 740574.07 | 740574.07 | 0 | 0%
3 | Subcontract | 0 | 0 | 0 | 0%
4 | Equipment | 86525.96 | 86525.96 | 0 | 0%
5 | Other | 0 | 0 | 0 | 0%
6 | Trade Cost Subtotal | 1508681.49 | 1508681.49
7 | General Conditions | 105607.7 | 105607.7 | 0 | 0%
8 | Construction Cost Subtotal | 1614289.19 | 1614289.19
9 | Fee | 80714.46 | 80714.46 | 0 | 0%
10 | Insurance | 25425.05 | 25425.05 | 0 | 0%

## Estimate Detail
Description | Quantity | Unit | Cost/Unit | Amount
0331 - Structural Concrete | 0 |  |  | 303009.37
031000.00 - Concrete Forming & Accessories | 0 |  |  | 146982.69
Column forms; square, job built; 36" x 36"; 4 uses | 1055.205 | sf | 15.0829 | 15915.6
Footing forms, job built; continuous wall; 4 uses | 1170 | sf | 10.2087 | 11944.21
Footing forms, job built; column footing, spread; 4 uses | 582 | sf | 12.0264 | 6999.34
Slab forms, job built; edge; 6" high; 4 uses | 99 | lf | 9.58 | 948.42
Slab forms, job built; edge; 12" high; 4 uses | 48 | lf | 10.2088 | 490.02
Wall forms, job built; exterior; up to 8' high; 4 uses | 5850 | sf | 10.6087 | 62061.07
Keyway form (5 uses); 2" x 4" | 585 | lf | 5.5475 | 3245.3
Chamfer strip; wood; 3/4" wide | 444.636 | lf | 2.7078 | 1203.98
Expansion joint, premolded, in slabs; polyethylene foam; 1/2" x 6" | 550 | lf | 3.7688 | 2072.82
Vapor barrier; 6 mil polyethylene | 13673 | sf | 0.32708 | 4472.13
Gravel porous fill, under floor slab, 3/4" stone | 258.112 | cy | 145.7886 | 37629.8
032000.00 - Concrete Reinforcing | 0 |  |  | 36682.17
Wall rebar; concrete; #3 - #4 | 0.86 | ton | 3263.3953 | 2806.52
Column rebar; #3 - #4 | 0.272 | ton | 4651.8015 | 1265.29
Column rebar; #5 - #6 | 0.383 | ton | 3809.7389 | 1459.13
Footing rebar; grade 60; #3 - #4 | 1.235 | ton | 3494.8097 | 4316.09
Footing rebar; grade 60; #5 - #6 | 0.986 | ton | 3038.3976 | 2995.86
Slab rebar; #3 - #4 | 6.208 | ton | 3494.8003 | 21695.72
Slab wire mesh; standard; 6" x 6"; W1.4 x W1.4 | 3125 | sf | 0.68594 | 2143.56
033000.00 - Cast-in-Place Concrete | 0 |  |  | 110790
Column concrete; 2500 or 3000 psi; by pump | 22.614 | cy | 269.12 | 6085.88
Elevated slab concrete; 2500 or 3000 psi; by pump | 40.992 | cy | 199.5938 | 8181.75
Continuous footing concrete; 2500 or 3000 psi; by chute | 28.889 | cy | 171.7553 | 4961.84
Spread footing concrete; 2500 or 3000 psi; under 5 cy; by chute | 27.333 | cy | 171.755 | 4694.58
Slab on grade concrete; 3500 or 4000 psi; by chute | 259.89 | cy | 173.8164 | 45173.15
Wall concrete; 2500 or 3000 psi; to 4'; by chute | 72.222 | cy | 167.2187 | 12076.87
Floor finish; screed | 17063 | sf | 1.1908 | 20318.96
Wall finish; break ties and patch holes | 2925 | sf | 1.9053 | 5573.04
Concrete curing; sprayed membrane; slabs | 17063 | sf | 0.21825 | 3723.93
036000.00 - Grouting | 0 |  |  | 4465.72
Grouting for bases; non-shrink; non-metallic; 2" deep | 126.333 | sf | 35.3488 | 4465.72
072000.00 - Thermal Protection | 0 |  |  | 4088.79
Board insulation; polystyrene; wall; 2" thick, R8.33 | 2475 | sf | 1.652 | 4088.79
0510 - Structural Steel | 0 |  |  | 58172.61
051000.00 - Structural Metal Framing | 0 |  |  | 15276.18
Structural steel; beams and girders, A-36; bolted | 1.848 | ton | 4203.5173 | 7768.1
Structural steel; tube; greater than 6" wide rectangular; heavy sections | 1.412 | ton | 5317.3371 | 7508.08
052000.00 - Metal Joists | 0 |  |  | 27667.93
Metal joist; K series | 9.762 | ton | 2834.2481 | 27667.93
053000.00 - Metal Decking | 0 |  |  | 15228.5
Metal deck; open type, galvanized; 1 1/2" deep; 20 ga | 3125 | sf | 4.8731 | 15228.5
0550 - Miscellaneous Metals | 0 |  |  | 25354.13
055000.00 - Metal Fabrications | 0 |  |  | 25354.13
Metal stair; pan type with cement fill, steel; per riser; tread; 4' wide | 21 | each | 413.5652 | 8684.87
Metal stair; pan type with cement fill, steel; per riser; landing | 41 | sf | 130.5522 | 5352.64
Railing, pipe; 1 1/2" dia, welded steel; 3-rail; galvanized | 120 | lf | 81.5522 | 9786.26
Railing, pipe; 1 1/2" dia, welded steel; wall mounted, single rail; galvanized | 35 | lf | 43.7246 | 1530.36
0780 - Fire & Smoke Protection | 0 |  |  | 9661.18
078000.00 - Fire & Smoke Protection | 0 |  |  | 9661.18
Fireproofing; sprayed on; 1" thick; on beams | 387.273 | sf | 3.3803 | 1309.08
Fireproofing; sprayed on; 1" thick; on columns | 120.885 | sf | 3.1513 | 380.94
Fireproofing; sprayed on; 1" thick; on decks; fluted surface | 3125 | sf | 2.5508 | 7971.16
0810 - Doors, Frames & Hardware | 0 |  |  | 33960.4
081000.00 - Doors & Frames | 0 |  |  | 20793.55
Hollow metal frame, stock; 16 ga; 6 3/4" x 1 3/4"; 3'-0" x 7'-0" | 5 | each | 327.762 | 1638.81
Hollow metal frame, stock; 16 ga; 6 3/4" x 1 3/4"; 6'-0" x 7'-0" | 1 | each | 435.35 | 435.35
Hollow metal frame, stock; 16 ga; 4 3/4" x 1 3/4"; sidelight, complete; 1'-0" x 7'-2" | 7 | each | 562.7614 | 3939.33
Hollow metal frame, stock; 16 ga; 5 3/4" x 1 3/4"; 3'-0" x 7'-0" | 13 | each | 317.7615 | 4130.9
Hollow metal frame, stock; 16 ga; 5 3/4" x 1 3/4"; 6'-0" x 7'-0" | 1 | each | 390.35 | 390.35
Flush hollow metal door; heavy duty, unrated; 18 ga; 1 3/4" thick; 3'-0" x 7'-0" | 7 | each | 606.39 | 4244.73
Wood door; solid core; 1 3/4" thick; birch faced; 3'-0" x 7'-0" | 15 | each | 400.9387 | 6014.08
085000.00 - Windows | 0 |  |  | 1076.75
Steel window, primed; industrial; fixed sash | 18 | sf | 59.8194 | 1076.75
087000.00 - Hardware | 0 |  |  | 12090.1
Hinges; 4" x 4" butts, steel, standard | 33 | pair | 31 | 1023
Latchset, heavy duty; cylindrical | 1 | each | 255.47 | 255.47
Latchset, heavy duty; mortise | 1 | each | 299.75 | 299.75
Lockset, heavy duty; cylindrical | 14 | each | 370.4686 | 5186.56
Mortise locks and latchsets, chrome; entry lockset | 6 | each | 402.2917 | 2413.75
Door closer; surface mounted, traditional type, parallel arm; heavy duty | 7 | each | 415.9386 | 2911.57
0830 - Specialty Doors & Frames | 0 |  |  | 13738.94
083000.00 - Specialty Doors & Frames | 0 |  |  | 13738.94
Top coiling grille, manually operated, steel or aluminum; opening; 6' high x 16' wide | 1 | each | 4896.43 | 4896.43
Sectional metal overhead door, complete; commercial grade; 12' x 12' | 3 | each | 2947.5033 | 8842.51
0920 - Drywall, Carpentry & Acoustical | 0 |  |  | 71593.97
061000.00 - Rough Carpentry | 0 |  |  | 646.4
Blocking; steel construction; walls; 2" x 6" | 72 | lf | 8.9778 | 646.4
072000.00 - Thermal Protection | 0 |  |  | 6542.58
Batt insulation; wall, fiberglass; unfaced; 4" thick, R11 | 4700 | sf | 1.392 | 6542.58
092000.00 - Plaster & Gypsum Board | 0 |  |  | 46270.83
Metal framing; furring; on walls; 7/8" channel; 16" o.c. | 1987.5 | sf | 3.5204 | 6996.89
Metal framing; studs, non-load bearing, galvanized; 3 5/8"; 20 ga; 16" o.c. | 4700 | sf | 2.7655 | 12997.79
Drywall; plasterboard; 5/8"; nailed or screwed to walls | 10937.5 | sf | 1.5554 | 17012.52
Drywall; add for fire resistant | 10487.5 | sf | 0.12 | 1258.5
Drywall; add for water resistant | 450 | sf | 0.19 | 85.5
Drywall; add for taping and finishing joints; average | 10937.5 | sf | 0.72408 | 7919.63
095000.00 - Ceilings | 0 |  |  | 18134.16
Acoustical panels; mineral fiber; 3/4" thick; 2' x 2' | 2920 | sf | 3.6464 | 10647.59
Ceiling suspension system; T-bar; 2' x 2' | 2920 | sf | 2.5639 | 7486.57
0930 - Ceramic Tile | 0 |  |  | 12445.75
092000.00 - Plaster & Gypsum Board | 0 |  |  | 609.91
Scratch coat; for ceramic tile | 46.667 | sy | 13.0694 | 609.91
093000.00 - Tiling | 0 |  |  | 11835.84
Tile; glazed ceramic wall; 4 1/4" x 4 1/4"; average | 420 | sf | 12.0497 | 5060.86
Tile; glazed ceramic base; 4 1/4" high; average | 105 | lf | 17.7745 | 1866.32
Tile; unglazed ceramic flooring; portland cement bed, cushion edge, face mounted; 2" x 2" | 275 | sf | 17.8497 | 4908.66
0960 - Flooring | 0 |  |  | 22678.02
096000.00 - Flooring | 0 |  |  | 22678.02
Resilient wall base, vinyl; group 1; 4" high | 690 | lf | 4.8917 | 3375.26
Resilient flooring; solid vinyl tile, 1/8" thick, 12" x 12"; solid colors | 140 | sf | 9.3688 | 1311.63
Carpet; tile; foam backed; average | 2560 | sf | 7.0278 | 17991.13
0990 - Painting & Coating | 0 |  |  | 4030.38
099000.00 - Painting & Coating | 0 |  |  | 4030.38
Paint ceilings; spray; first coat; average | 20 | sf | 0.3755 | 7.51
Paint ceilings; spray; second coat; average | 20 | sf | 0.3265 | 6.53
Paint walls; spray; first coat; average | 6735 | sf | 0.30625 | 2062.6
Paint walls; spray; second coat; average | 6735 | sf | 0.29009 | 1953.74
1028 - Toilet Partitions & Accessories | 0 |  |  | 6556.03
102000.00 - Interior Specialties | 0 |  |  | 6556.03
Toilet partition; metal; floor mounted | 2 | each | 1036.875 | 2073.75
Toilet partition; wheelchair accessible; painted metal; floor mounted | 2 | each | 1436.875 | 2873.75
Toilet partition; urinal screen; painted metal; floor mounted | 2 | each | 555.94 | 1111.88
Grab bar, wall mounted; 1 1/2" dia; stainless steel; 36" long | 2 | each | 119.13 | 238.26
Grab bar, wall mounted; 1 1/2" dia; stainless steel; 42" long | 2 | each | 129.195 | 258.39
1334 - Fabricated Engineered Structures | 0 |  |  | 352480.71
133000.00 - Special Structures | 0 |  |  | 352480.71
Pre-engineered metal building; 100' x 150'; 25' eave height | 14060 | sf | 25.0698 | 352480.71
2100 - Fire Suppression | 0 |  |  | 70000
210000.00 - Fire Suppression - General | 0 |  |  | 70000
Fire Suppression Quote | 17500 | gsf | 4 | 70000
2200 - Plumbing | 0 |  |  | 131250
220000.00 - Plumbing - General | 0 |  |  | 131250
Plumbing Quote | 17500 | gsf | 7.5 | 131250
2300 - HVAC | 0 |  |  | 183750
230000.00 - HVAC - General | 0 |  |  | 183750
HVAC Quote | 17500 | gsf | 10.5 | 183750
2600 - Electrical | 0 |  |  | 210000
260000.00 - Electrical - General | 0 |  |  | 210000
Electrical Power & Lighting Quote | 17500 | gsf | 12 | 210000
Trade Cost Subtotal |  |  |  | 1508681.49
General Conditions |  |  |  | 105607.7
Construction Cost Subtotal |  |  |  | 1614289.19
Fee |  |  |  | 80714.46
Insurance |  |  |  | 25425.05
1720428.7