## Connectivity Audit (hidden)
Current SQL Instance Name | DESKTOP-BAV06SS\SAGE_ESTIMATING
Current Estimate Catalog Name | Estimates_ExportTesting
Current Estimate ID | 47
Current Estimate Name | Sample Estimate - Warehouse Project
Current Estimate Branch
Current Estimate User | DESKTOP-BAV06SS\MICROSOFT
Other Open Estimates by User | Name | ID | Branch
None

## Estimate Validation (hidden)
Validation Check | Status
Verify that the first five (5) rows in the totals page are category subtotals | Passed
Verify that all totals page addons have valid distribution criteria | Passed
Verify that recalculated addon amounts match stored application values | Passed

## Addon Exception Audit (hidden)
The following addon(s) cannot be allocated for the reason(s) indicated and therefore the requested addon distribution cannot be generated. Please return to the estimate, adjust the addons as necessary to remedy the exception(s) listed below and run the export again. |  |  | No Categories Selected | Invalid Range Selected
Row | Description | Amount

## Addon Validation (hidden)
Position | Description | Current Dollar Amounts |  | Current Difference
|  | Calculated within Export Routine | Stored in Sage Estimating | Amount | %
1 | Labor | 681581.46 | 681581.46 | 0 | 0%
2 | Material | 740574.07 | 740574.07 | 0 | 0%
3 | Subcontract | 0 | 0 | 0 | 0%
4 | Equipment | 86525.96 | 86525.96 | 0 | 0%
5 | Other | 0 | 0 | 0 | 0%
6 | Trade Cost Subtotal | 1508681.49 | 1508681.49
7 | General Conditions | 105607.7 | 105607.7 | 0 | 0%
8 | Construction Cost Subtotal | 1614289.19 | 1614289.19
9 | Fee | 80714.46 | 80714.46 | 0 | 0%
10 | Insurance | 25425.05 | 25425.05 | 0 | 0%

## Estimate Detail
Description | Quantity | Unit | Cost/Unit | Amount
03 - CONCRETE | 0 |  |  | 340874.8289
03100 - Concrete Forms & Accessories | 0 |  |  | 167612.0771
Column forms; square, job built; 36" x 36"; 4 uses | 1055.205 | sf | 17.1999 | 18149.3942
Footing forms, job built; continuous wall; 4 uses | 1170 | sf | 11.6415 | 13620.6097
Footing forms, job built; column footing, spread; 4 uses | 582 | sf | 13.7143 | 7981.7148
Slab forms, job built; edge; 6" high; 4 uses | 99 | lf | 10.9246 | 1081.5331
Slab forms, job built; edge; 12" high; 4 uses | 48 | lf | 11.6416 | 558.7955
Wall forms, job built; exterior; up to 8' high; 4 uses | 5850 | sf | 12.0977 | 70771.496
Keyway form (5 uses); 2" x 4" | 585 | lf | 6.3261 | 3700.7859
Chamfer strip; wood; 3/4" wide | 444.636 | lf | 3.0878 | 1372.9616
Expansion joint, premolded, in slabs; polyethylene foam; 1/2" x 6" | 550 | lf | 4.2977 | 2363.7454
Vapor barrier; 6 mil polyethylene | 13673 | sf | 0.37298 | 5099.8046
Gravel porous fill, under floor slab, 3/4" stone | 258.112 | cy | 166.2505 | 42911.2363
03200 - Concrete Reinforcement | 0 |  |  | 41830.6041
Wall rebar; concrete; #3 - #4 | 0.86 | ton | 3721.421 | 3200.4221
Column rebar; #3 - #4 | 0.272 | ton | 5304.6934 | 1442.8766
Column rebar; #5 - #6 | 0.383 | ton | 4344.4453 | 1663.9225
Footing rebar; grade 60; #3 - #4 | 1.235 | ton | 3985.315 | 4921.864
Footing rebar; grade 60; #5 - #6 | 0.986 | ton | 3464.8442 | 3416.3364
Slab rebar; #3 - #4 | 6.208 | ton | 3985.3042 | 24740.7684
Slab wire mesh; standard; 6" x 6"; W1.4 x W1.4 | 3125 | sf | 0.78221 | 2444.414
03300 - Cast-in-Place Concrete | 0 |  |  | 126339.6528
Column concrete; 2500 or 3000 psi; by pump | 22.614 | cy | 306.8917 | 6940.0484
Elevated slab concrete; 2500 or 3000 psi; by pump | 40.992 | cy | 227.6073 | 9330.079
Continuous footing concrete; 2500 or 3000 psi; by chute | 28.889 | cy | 195.8616 | 5658.2466
Spread footing concrete; 2500 or 3000 psi; under 5 cy; by chute | 27.333 | cy | 195.8613 | 5353.476
Slab on grade concrete; 3500 or 4000 psi; by chute | 259.89 | cy | 198.212 | 51513.3143
Wall concrete; 2500 or 3000 psi; to 4'; by chute | 72.222 | cy | 190.6883 | 13771.8888
Floor finish; screed | 17063 | sf | 1.358 | 23170.7767
Wall finish; break ties and patch holes | 2925 | sf | 2.1727 | 6355.2301
Concrete curing; sprayed membrane; slabs | 17063 | sf | 0.24888 | 4246.5929
03600 - Grouts | 0 |  |  | 5092.4949
Grouting for bases; non-shrink; non-metallic; 2" deep | 126.333 | sf | 40.3101 | 5092.4949
05 - METALS | 0 |  |  | 95249.9263
05100 - Structural Metal Framing | 0 |  |  | 17420.23
Structural steel; beams and girders, A-36; bolted | 1.848 | ton | 4793.4915 | 8858.3722
Structural steel; tube; greater than 6" wide rectangular; heavy sections | 1.412 | ton | 6063.6386 | 8561.8577
05200 - Metal Joists | 0 |  |  | 31551.193
Metal joist; K series | 9.762 | ton | 3232.0419 | 31551.193
05300 - Metal Deck | 0 |  |  | 17365.858
Metal deck; open type, galvanized; 1 1/2" deep; 20 ga | 3125 | sf | 5.5571 | 17365.858
05500 - Metal Fabrications | 0 |  |  | 28912.6454
Metal stair; pan type with cement fill, steel; per riser; tread; 4' wide | 21 | each | 471.6102 | 9903.8132
Metal stair; pan type with cement fill, steel; per riser; landing | 41 | sf | 148.8755 | 6103.8964
Railing, pipe; 1 1/2" dia, welded steel; 3-rail; galvanized | 120 | lf | 92.9982 | 11159.786
Railing, pipe; 1 1/2" dia, welded steel; wall mounted, single rail; galvanized | 35 | lf | 49.8614 | 1745.1498
06 - WOOD & PLASTICS | 0 |  |  | 737.1238
06100 - Rough Carpentry | 0 |  |  | 737.1238
Blocking; steel construction; walls; 2" x 6" | 72 | lf | 10.2378 | 737.1238
07 - THERMAL & MOISTURE PROTECTION | 0 |  |  | 23140.66
07200 - Thermal Protection | 0 |  |  | 12123.5093
Board insulation; polystyrene; wall; 2" thick, R8.33 | 2475 | sf | 1.8839 | 4662.6619
Batt insulation; wall, fiberglass; unfaced; 4" thick, R11 | 4700 | sf | 1.5874 | 7460.8474
07800 - Fire & Smoke Protection | 0 |  |  | 11017.1507
Fireproofing; sprayed on; 1" thick; on beams | 387.273 | sf | 3.8547 | 1492.8126
Fireproofing; sprayed on; 1" thick; on columns | 120.885 | sf | 3.5935 | 434.4059
Fireproofing; sprayed on; 1" thick; on decks; fluted surface | 3125 | sf | 2.9088 | 9089.9322
08 - DOORS & WINDOWS | 0 |  |  | 54394.0613
08100 - Metal Doors & Frames | 0 |  |  | 16853.8055
Hollow metal frame, stock; 16 ga; 6 3/4" x 1 3/4"; 3'-0" x 7'-0" | 5 | each | 373.7642 | 1868.8211
Hollow metal frame, stock; 16 ga; 6 3/4" x 1 3/4"; 6'-0" x 7'-0" | 1 | each | 496.4525 | 496.4525
Hollow metal frame, stock; 16 ga; 4 3/4" x 1 3/4"; sidelight, complete; 1'-0" x 7'-2" | 7 | each | 641.7464 | 4492.2248
Hollow metal frame, stock; 16 ga; 5 3/4" x 1 3/4"; 3'-0" x 7'-0" | 13 | each | 362.3602 | 4710.6821
Hollow metal frame, stock; 16 ga; 5 3/4" x 1 3/4"; 6'-0" x 7'-0" | 1 | each | 445.1366 | 445.1366
Flush hollow metal door; heavy duty, unrated; 18 ga; 1 3/4" thick; 3'-0" x 7'-0" | 7 | each | 691.4983 | 4840.4884
08200 - Wood & Plastic Doors | 0 |  |  | 6858.1711
Wood door; solid core; 1 3/4" thick; birch faced; 3'-0" x 7'-0" | 15 | each | 457.2114 | 6858.1711
08300 - Specialty Doors | 0 |  |  | 15667.2345
Top coiling grille, manually operated, steel or aluminum; opening; 6' high x 16' wide | 1 | each | 5583.6562 | 5583.6562
Sectional metal overhead door, complete; commercial grade; 12' x 12' | 3 | each | 3361.1928 | 10083.5783
08500 - Windows | 0 |  |  | 1227.8745
Steel window, primed; industrial; fixed sash | 18 | sf | 68.2153 | 1227.8745
08700 - Hardware | 0 |  |  | 13786.9757
Hinges; 4" x 4" butts, steel, standard | 33 | pair | 35.3509 | 1166.5806
Latchset, heavy duty; cylindrical | 1 | each | 291.3259 | 291.3259
Latchset, heavy duty; mortise | 1 | each | 341.8207 | 341.8207
Lockset, heavy duty; cylindrical | 14 | each | 422.4648 | 5914.5066
Mortise locks and latchsets, chrome; entry lockset | 6 | each | 458.7543 | 2752.5258
Door closer; surface mounted, traditional type, parallel arm; heavy duty | 7 | each | 474.3166 | 3320.2161
09 - FINISHES | 0 |  |  | 118093.9236
09100 - Metal Support Assemblies | 0 |  |  | 23359.391
Metal framing; studs, non-load bearing, galvanized; 3 5/8"; 20 ga; 16" o.c. | 4700 | sf | 3.1536 | 14822.0623
Ceiling suspension system; T-bar; 2' x 2' | 2920 | sf | 2.9237 | 8537.3288
09200 - Plaster & Gypsum Board | 0 |  |  | 38638.5065
Metal framing; furring; on walls; 7/8" channel; 16" o.c. | 1987.5 | sf | 4.0146 | 7978.921
Scratch coat; for ceramic tile | 46.667 | sy | 14.9037 | 695.5124
Drywall; plasterboard; 5/8"; nailed or screwed to walls | 10937.5 | sf | 1.7737 | 19400.2696
Drywall; add for fire resistant | 10487.5 | sf | 0.13684 | 1435.1336
Drywall; add for water resistant | 450 | sf | 0.21667 | 97.5001
Drywall; add for taping and finishing joints; average | 10937.5 | sf | 0.82571 | 9031.1698
09300 - Tile | 0 |  |  | 13497.0297
Tile; glazed ceramic wall; 4 1/4" x 4 1/4"; average | 420 | sf | 13.7409 | 5771.1643
Tile; glazed ceramic base; 4 1/4" high; average | 105 | lf | 20.2692 | 2128.2627
Tile; unglazed ceramic flooring; portland cement bed, cushion edge, face mounted; 2" x 2" | 275 | sf | 20.3549 | 5597.6027
09500 - Ceilings | 0 |  |  | 12142.0058
Acoustical panels; mineral fiber; 3/4" thick; 2' x 2' | 2920 | sf | 4.1582 | 12142.0058
09600 - Flooring | 0 |  |  | 25860.9367
Resilient wall base, vinyl; group 1; 4" high | 690 | lf | 5.5782 | 3848.9862
Resilient flooring; solid vinyl tile, 1/8" thick, 12" x 12"; solid colors | 140 | sf | 10.6837 | 1495.7205
Carpet; tile; foam backed; average | 2560 | sf | 8.0142 | 20516.23
09900 - Paints & Coatings | 0 |  |  | 4596.0539
Paint ceilings; spray; first coat; average | 20 | sf | 0.4282 | 8.564
Paint ceilings; spray; second coat; average | 20 | sf | 0.37233 | 7.4465
Paint walls; spray; first coat; average | 6735 | sf | 0.34923 | 2352.0911
Paint walls; spray; second coat; average | 6735 | sf | 0.3308 | 2227.9523
10 - SPECIALTIES | 0 |  |  | 7476.1852
10150 - Compartments & Cubicles | 0 |  |  | 6909.8291
Toilet partition; metal; floor mounted | 2 | each | 1182.403 | 2364.806
Toilet partition; wheelchair accessible; painted metal; floor mounted | 2 | each | 1638.544 | 3277.088
Toilet partition; urinal screen; painted metal; floor mounted | 2 | each | 633.9676 | 1267.9351
10800 - Toilet, Bath & Laundry Accessories | 0 |  |  | 566.3561
Grab bar, wall mounted; 1 1/2" dia; stainless steel; 36" long | 2 | each | 135.8502 | 271.7004
Grab bar, wall mounted; 1 1/2" dia; stainless steel; 42" long | 2 | each | 147.3278 | 294.6557
13 - SPECIAL CONSTRUCTION | 0 |  |  | 481776.9314
13120 - Pre-Engineered Structures | 0 |  |  | 401952.2568
Pre-engineered metal building; 100' x 150'; 25' eave height | 14060 | sf | 28.5884 | 401952.2568
13900 - Fire Suppression | 0 |  |  | 79824.6746
Fire Suppression Quote | 17500 | gsf | 4.5614 | 79824.6746
15 - MECHANICAL | 0 |  |  | 359211.0357
15400 - Plumbing Fixtures & Equipment | 0 |  |  | 149671.2649
Plumbing Quote | 17500 | gsf | 8.5526 | 149671.2649
15700 - Heating, Ventilating & Air Conditioning Equipment | 0 |  |  | 209539.7708
HVAC Quote | 17500 | gsf | 11.9737 | 209539.7708
16 - ELECTRICAL | 0 |  |  | 239474.0238
16200 - Electrical Power | 0 |  |  | 239474.0238
Electrical Power & Lighting Quote | 17500 | gsf | 13.6842 | 239474.0238
1720428.7