## Connectivity Audit (hidden)
Current SQL Instance Name | DESKTOP-BAV06SS\SAGE_ESTIMATING
Current Estimate Catalog Name | Estimates_ExportTesting
Current Estimate ID | 47
Current Estimate Name | Sample Estimate - Warehouse Project
Current Estimate Branch
Current Estimate User | DESKTOP-BAV06SS\MICROSOFT
Other Open Estimates by User | Name | ID | Branch
None

## Estimate Validation (hidden)
Validation Check | Status
Verify that the first five (5) rows in the totals page are category subtotals | Passed
Verify that all totals page addons have valid distribution criteria | Passed
Verify that recalculated addon amounts match stored application values | Passed

## Addon Exception Audit (hidden)
The following addon(s) cannot be allocated for the reason(s) indicated and therefore the requested addon distribution cannot be generated. Please return to the estimate, adjust the addons as necessary to remedy the exception(s) listed below and run the export again. |  |  | No Categories Selected | Invalid Range Selected
Row | Description | Amount

## Addon Validation (hidden)
Position | Description | Current Dollar Amounts |  | Current Difference
|  | Calculated within Export Routine | Stored in Sage Estimating | Amount | %
1 | Labor | 681581.46 | 681581.46 | 0 | 0%
2 | Material | 740574.07 | 740574.07 | 0 | 0%
3 | Subcontract | 0 | 0 | 0 | 0%
4 | Equipment | 86525.96 | 86525.96 | 0 | 0%
5 | Other | 0 | 0 | 0 | 0%
6 | Trade Cost Subtotal | 1508681.49 | 1508681.49
7 | General Conditions | 105607.7 | 105607.7 | 0 | 0%
8 | Construction Cost Subtotal | 1614289.19 | 1614289.19
9 | Fee | 80714.46 | 80714.46 | 0 | 0%
10 | Insurance | 25425.05 | 25425.05 | 0 | 0%

## Estimate Detail
Description | Quantity | Unit | Cost/Unit | Amount
A - SUBSTRUCTURE | 0 |  |  | 328741.6495
A10 - Foundations | 0 |  |  | 44653.0335
A1010 - Standard Foundations | 56.22 | cy | 794.2553 | 44653.0335
Footing forms, job built; continuous wall; 4 uses | 1170 | sf | 11.6415 | 13620.6097
Footing forms, job built; column footing, spread; 4 uses | 582 | sf | 13.7143 | 7981.7148
Keyway form (5 uses); 2" x 4" | 585 | lf | 6.3261 | 3700.7859
Footing rebar; grade 60; #3 - #4 | 1.235 | ton | 3985.315 | 4921.864
Footing rebar; grade 60; #5 - #6 | 0.986 | ton | 3464.8442 | 3416.3364
Continuous footing concrete; 2500 or 3000 psi; by chute | 28.889 | cy | 195.8616 | 5658.2466
Spread footing concrete; 2500 or 3000 psi; under 5 cy; by chute | 27.333 | cy | 195.8613 | 5353.476
A20 - Subgrade Enclosures | 0 |  |  | 133423.3971
A2010 - Walls for Subgrade Enclosures | 94.83 | cy | 1406.9746 | 133423.3971
Column forms; square, job built; 36" x 36"; 4 uses | 1055.205 | sf | 17.1999 | 18149.3942
Wall forms, job built; exterior; up to 8' high; 4 uses | 5850 | sf | 12.0977 | 70771.496
Chamfer strip; wood; 3/4" wide | 444.636 | lf | 3.0878 | 1372.9616
Wall rebar; concrete; #3 - #4 | 0.86 | ton | 3721.421 | 3200.4221
Column rebar; #3 - #4 | 0.272 | ton | 5304.6934 | 1442.8766
Column rebar; #5 - #6 | 0.383 | ton | 4344.4453 | 1663.9225
Column concrete; 2500 or 3000 psi; by pump | 22.614 | cy | 306.8917 | 6940.0484
Wall concrete; 2500 or 3000 psi; to 4'; by chute | 72.222 | cy | 190.6883 | 13771.8888
Wall finish; break ties and patch holes | 2925 | sf | 2.1727 | 6355.2301
Grouting for bases; non-shrink; non-metallic; 2" deep | 126.333 | sf | 40.3101 | 5092.4949
Board insulation; polystyrene; wall; 2" thick, R8.33 | 2475 | sf | 1.8839 | 4662.6619
A40 - Slabs on Grade | 0 |  |  | 150665.2189
A4010 - Standard Slabs on Grade | 13938 | sf | 10.8097 | 150665.2189
Slab forms, job built; edge; 6" high; 4 uses | 99 | lf | 10.9246 | 1081.5331
Slab forms, job built; edge; 12" high; 4 uses | 48 | lf | 11.6416 | 558.7955
Expansion joint, premolded, in slabs; polyethylene foam; 1/2" x 6" | 550 | lf | 4.2977 | 2363.7455
Vapor barrier; 6 mil polyethylene | 13673 | sf | 0.37298 | 5099.8046
Gravel porous fill, under floor slab, 3/4" stone | 258.112 | cy | 166.2505 | 42911.2363
Slab rebar; #3 - #4 | 6.208 | ton | 3985.3042 | 24740.7684
Slab on grade concrete; 3500 or 4000 psi; by chute | 259.89 | cy | 198.212 | 51513.3143
Floor finish; screed | 13938 | sf | 1.358 | 18927.1716
Concrete curing; sprayed membrane; slabs | 13938 | sf | 0.24888 | 3468.8497
B - SHELL | 0 |  |  | 161783.1768
B10 - Superstructure | 0 |  |  | 123062.9183
B1010 - Floor Construction | 3125 | sf | 30.1281 | 94150.273
Slab wire mesh; standard; 6" x 6"; W1.4 x W1.4 | 3125 | sf | 0.78221 | 2444.414
Elevated slab concrete; 2500 or 3000 psi; by pump | 40.992 | cy | 227.6073 | 9330.079
Floor finish; screed | 3125 | sf | 1.358 | 4243.6051
Concrete curing; sprayed membrane; slabs | 3125 | sf | 0.24888 | 777.7432
Structural steel; beams and girders, A-36; bolted | 1.848 | ton | 4793.4915 | 8858.3722
Structural steel; tube; greater than 6" wide rectangular; heavy sections | 1.412 | ton | 6063.6386 | 8561.8577
Metal joist; K series | 9.762 | ton | 3232.0419 | 31551.193
Metal deck; open type, galvanized; 1 1/2" deep; 20 ga | 3125 | sf | 5.5571 | 17365.858
Fireproofing; sprayed on; 1" thick; on beams | 387.273 | sf | 3.8547 | 1492.8126
Fireproofing; sprayed on; 1" thick; on columns | 120.885 | sf | 3.5935 | 434.4059
Fireproofing; sprayed on; 1" thick; on decks; fluted surface | 3125 | sf | 2.9088 | 9089.9322
B1080 - Stairs | 125 | sf | 231.3012 | 28912.6454
Metal stair; pan type with cement fill, steel; per riser; tread; 4' wide | 21 | each | 471.6102 | 9903.8132
Metal stair; pan type with cement fill, steel; per riser; landing | 41 | sf | 148.8755 | 6103.8964
Railing, pipe; 1 1/2" dia, welded steel; 3-rail; galvanized | 120 | lf | 92.9982 | 11159.786
Railing, pipe; 1 1/2" dia, welded steel; wall mounted, single rail; galvanized | 35 | lf | 49.8614 | 1745.1498
B20 - Exterior Vertical Enclosures | 0 |  |  | 38720.2584
B2010 - Exterior Walls | 1987.5 | sf | 6.7508 | 13417.2962
Metal framing; furring; on walls; 7/8" channel; 16" o.c. | 1987.5 | sf | 4.0146 | 7978.921
Drywall; plasterboard; 5/8"; nailed or screwed to walls | 1987.5 | sf | 1.7737 | 3525.3085
Drywall; add for fire resistant | 1987.5 | sf | 0.13684 | 271.9741
Drywall; add for taping and finishing joints; average | 1987.5 | sf | 0.82571 | 1641.0927
B2020 - Exterior Windows | 18 | sf | 68.2153 | 1227.8745
Steel window, primed; industrial; fixed sash | 18 | sf | 68.2153 | 1227.8745
B2050 - Exterior Doors & Grilles | 9 | each | 2675.0097 | 24075.0877
Hollow metal frame, stock; 16 ga; 6 3/4" x 1 3/4"; 3'-0" x 7'-0" | 5 | each | 373.7642 | 1868.8211
Hollow metal frame, stock; 16 ga; 6 3/4" x 1 3/4"; 6'-0" x 7'-0" | 1 | each | 496.4525 | 496.4525
Flush hollow metal door; heavy duty, unrated; 18 ga; 1 3/4" thick; 3'-0" x 7'-0" | 7 | each | 691.4983 | 4840.4884
Sectional metal overhead door, complete; commercial grade; 12' x 12' | 3 | each | 3361.1928 | 10083.5783
Hinges; 4" x 4" butts, steel, standard | 10.5 | pair | 35.3509 | 371.1847
Latchset, heavy duty; mortise | 1 | each | 341.8207 | 341.8207
Mortise locks and latchsets, chrome; entry lockset | 6 | each | 458.7543 | 2752.5258
Door closer; surface mounted, traditional type, parallel arm; heavy duty | 7 | each | 474.3166 | 3320.2161
C - INTERIORS | 0 |  |  | 149441.883
C10 - Interior Construction | 0 |  |  | 104792.3504
C1010 - Interior Partitions | 4475 | sf | 10.6247 | 47545.7315
Blocking; steel construction; walls; 2" x 6" | 72 | lf | 10.2378 | 737.1239
Batt insulation; wall, fiberglass; unfaced; 4" thick, R11 | 4700 | sf | 1.5874 | 7460.8474
Metal framing; studs, non-load bearing, galvanized; 3 5/8"; 20 ga; 16" o.c. | 4700 | sf | 3.1536 | 14822.0622
Drywall; plasterboard; 5/8"; nailed or screwed to walls | 8950 | sf | 1.7737 | 15874.9611
Drywall; add for fire resistant | 8500 | sf | 0.13684 | 1163.1595
Drywall; add for water resistant | 450 | sf | 0.21667 | 97.5001
Drywall; add for taping and finishing joints; average | 8950 | sf | 0.82571 | 7390.0772
C1030 - Interior Doors | 14 | ea | 1679.1031 | 23507.443
Hollow metal frame, stock; 16 ga; 4 3/4" x 1 3/4"; sidelight, complete; 1'-0" x 7'-2" | 7 | each | 641.7464 | 4492.2248
Hollow metal frame, stock; 16 ga; 5 3/4" x 1 3/4"; 3'-0" x 7'-0" | 13 | each | 362.3602 | 4710.6821
Hollow metal frame, stock; 16 ga; 5 3/4" x 1 3/4"; 6'-0" x 7'-0" | 1 | each | 445.1366 | 445.1366
Wood door; solid core; 1 3/4" thick; birch faced; 3'-0" x 7'-0" | 15 | each | 457.2114 | 6858.1711
Hinges; 4" x 4" butts, steel, standard | 22.5 | pair | 35.3509 | 795.3959
Latchset, heavy duty; cylindrical | 1 | each | 291.3259 | 291.3259
Lockset, heavy duty; cylindrical | 14 | each | 422.4648 | 5914.5066
C1040 - Interior Grilles & Gates | 96 | sf | 58.1631 | 5583.6562
Top coiling grille, manually operated, steel or aluminum; opening; 6' high x 16' wide | 1 | each | 5583.6562 | 5583.6562
C1070 - Suspended Ceiling Construction | 2920 | sf | 7.082 | 20679.3346
Acoustical panels; mineral fiber; 3/4" thick; 2' x 2' | 2920 | sf | 4.1582 | 12142.0058
Ceiling suspension system; T-bar; 2' x 2' | 2920 | sf | 2.9237 | 8537.3288
C1090 - Interior Specialties | 10 | each | 747.6185 | 7476.1852
Toilet partition; metal; floor mounted | 2 | each | 1182.403 | 2364.806
Toilet partition; wheelchair accessible; painted metal; floor mounted | 2 | each | 1638.544 | 3277.088
Toilet partition; urinal screen; painted metal; floor mounted | 2 | each | 633.9676 | 1267.9351
Grab bar, wall mounted; 1 1/2" dia; stainless steel; 36" long | 2 | each | 135.8502 | 271.7004
Grab bar, wall mounted; 1 1/2" dia; stainless steel; 42" long | 2 | each | 147.3278 | 294.6557
C20 - Interior Finishes | 0 |  |  | 44649.5326
C2010 - Wall Finishes | 7155 | sf | 1.8414 | 13174.9827
Scratch coat; for ceramic tile | 46.667 | sy | 14.9037 | 695.5124
Tile; glazed ceramic wall; 4 1/4" x 4 1/4"; average | 420 | sf | 13.7409 | 5771.1643
Tile; glazed ceramic base; 4 1/4" high; average | 105 | lf | 20.2692 | 2128.2627
Paint walls; spray; first coat; average | 6735 | sf | 0.34923 | 2352.0911
Paint walls; spray; second coat; average | 6735 | sf | 0.3308 | 2227.9523
C2030 - Flooring | 2975 | sf | 10.5743 | 31458.5393
Tile; unglazed ceramic flooring; portland cement bed, cushion edge, face mounted; 2" x 2" | 275 | sf | 20.3549 | 5597.6027
Resilient wall base, vinyl; group 1; 4" high | 690 | lf | 5.5782 | 3848.9862
Resilient flooring; solid vinyl tile, 1/8" thick, 12" x 12"; solid colors | 140 | sf | 10.6837 | 1495.7205
Carpet; tile; foam backed; average | 2560 | sf | 8.0142 | 20516.23
C2050 - Ceiling Finishes | 20 | sf | 0.80053 | 16.0105
Paint ceilings; spray; first coat; average | 20 | sf | 0.4282 | 8.564
Paint ceilings; spray; second coat; average | 20 | sf | 0.37232 | 7.4465
D - SERVICES | 0 |  |  | 678509.734
D20 - Plumbing | 0 |  |  | 149671.2649
D2010 - Domestic Water Distribution | 17500 | gsf | 8.5526 | 149671.2649
Plumbing Quote | 17500 | gsf | 8.5526 | 149671.2649
D30 - HVAC | 0 |  |  | 209539.7708
D3050 - Facility HVAC Distribution Systems | 17500 | gsf | 11.9737 | 209539.7708
HVAC Quote | 17500 | gsf | 11.9737 | 209539.7708
D40 - Fire Protection | 0 |  |  | 79824.6746
D4010 - Fire Suppression | 17500 | gsf | 4.5614 | 79824.6746
Fire Suppression Quote | 17500 | gsf | 4.5614 | 79824.6746
D50 - Electrical | 0 |  |  | 239474.0238
D5020 - Electrical Service & Distribution | 17500 | gsf | 13.6842 | 239474.0238
Electrical Power & Lighting Quote | 17500 | gsf | 13.6842 | 239474.0238
F - SPECIAL CONSTRUCTION & DEMOLITION | 0 |  |  | 401952.2568
F10 - Special Construction | 0 |  |  | 401952.2568
F1020 - Special Structures | 14060 | sf | 28.5884 | 401952.2568
Pre-engineered metal building; 100' x 150'; 25' eave height | 14060 | sf | 28.5884 | 401952.2568
1720428.7