## Connectivity Audit (hidden)
Current SQL Instance Name | DESKTOP-BAV06SS\SAGE_ESTIMATING
Current Estimate Catalog Name | Estimates_ExportTesting
Current Estimate ID | 47
Current Estimate Name | Sample Estimate - Warehouse Project
Current Estimate Branch
Current Estimate User | DESKTOP-BAV06SS\MICROSOFT
Other Open Estimates by User | Name | ID | Branch
None

## Estimate Validation (hidden)
Validation Check | Status
Verify that the first five (5) rows in the totals page are category subtotals | Passed
Verify that all totals page addons have valid distribution criteria | Passed
Verify that recalculated addon amounts match stored application values | Passed
Verify the presence of at least two (2) different row sort values | Passed
Verify the presence of at least two (2) different column sort values | Passed
Verify that all column sort ID codes do not exceed 31 characters | Passed

## Crosstab Summary
| Total Project |  | Foundation Work |  | Superstructure Work |  | Interiors Work |  | Building Services Work
| 17500 | gsf | 14060 | sf | 17500 | gsf | 17500 | gsf | 17500 | gsf
Description | Amount | Unit Cost | Amount | Unit Cost | Amount | Unit Cost | Amount | Unit Cost | Amount | Unit Cost
A10 - Foundations | 44653.034 | 2.5516 | 44653.034 | 3.1759
A20 - Subgrade Enclosures | 133423.398 | 7.6242 | 133423.398 | 9.4896
A40 - Slabs on Grade | 150665.218 | 8.6094 | 150665.218 | 10.7159
B10 - Superstructure | 123062.913 | 7.0322 |  |  | 123062.913 | 7.0322
B20 - Exterior Vertical Enclosures | 38720.257 | 2.2126 |  |  | 25302.962 | 1.4459 | 13417.295 | 0.7667
C10 - Interior Construction | 104792.351 | 5.9881 |  |  |  |  | 104792.351 | 5.9881
C20 - Interior Finishes | 44649.532 | 2.5514 |  |  |  |  | 44649.532 | 2.5514
D20 - Plumbing | 149671.264 | 8.5526 | [6 empty] | 149671.264 | 8.5526
D30 - HVAC | 209539.771 | 11.9737 | [6 empty] | 209539.771 | 11.9737
D40 - Fire Protection | 79824.675 | 4.5614 | [6 empty] | 79824.675 | 4.5614
D50 - Electrical | 239474.024 | 13.6842 | [6 empty] | 239474.024 | 13.6842
F10 - Special Construction | 401952.257 | 22.9687 |  |  | 401952.257 | 22.9687
Grand Total | 1720428.694 | 98.3102 | 328741.65 | 23.3813 | 550318.132 | 31.4468 | 162859.178 | 9.3062 | 678509.734 | 38.772

## Addon Exception Audit (hidden)
The following addon(s) cannot be allocated and/or distributed for the reason(s) indicated and therefore the crosstab analysis cannot be generated. Please return to the estimate, adjust the addons as necessary to remedy the exception(s) listed below and run the export again. |  |  | No Categories Selected | Invalid Range Selected
Row | Description | Amount

## Addon Validation (hidden)
Position | Description | Current Dollar Amounts |  | Current Difference
|  | Calculated within Export Routine | Stored in Sage Estimating | Amount | %
1 | Labor | 681581.46 | 681581.46 | 0 | 0%
2 | Material | 740574.07 | 740574.07 | 0 | 0%
3 | Subcontract | 0 | 0 | 0 | 0%
4 | Equipment | 86525.96 | 86525.96 | 0 | 0%
5 | Other | 0 | 0 | 0 | 0%
6 | Trade Cost Subtotal | 1508681.49 | 1508681.49
7 | General Conditions | 105607.7 | 105607.7 | 0 | 0%
8 | Construction Cost Subtotal | 1614289.19 | 1614289.19
9 | Fee | 80714.46 | 80714.46 | 0 | 0%
10 | Insurance | 25425.05 | 25425.05 | 0 | 0%

## 1
Foundation Work | 14060 | sf
Description | Quantity | Unit | Cost/Unit | Amount
A10 - Foundations | 0 |  |  | 44653.034
Footing forms, job built; continuous wall; 4 uses | 1170 | sf | 11.6415 | 13620.61
Footing forms, job built; column footing, spread; 4 uses | 582 | sf | 13.7143 | 7981.715
Keyway form (5 uses); 2" x 4" | 585 | lf | 6.3261 | 3700.786
Footing rebar; grade 60; #3 - #4 | 1.235 | ton | 3985.315 | 4921.864
Footing rebar; grade 60; #5 - #6 | 0.986 | ton | 3464.8438 | 3416.336
Continuous footing concrete; 2500 or 3000 psi; by chute | 28.889 | cy | 195.8616 | 5658.247
Spread footing concrete; 2500 or 3000 psi; under 5 cy; by chute | 27.333 | cy | 195.8613 | 5353.476
A20 - Subgrade Enclosures | 0 |  |  | 133423.398
Column forms; square, job built; 36" x 36"; 4 uses | 1055.205 | sf | 17.1999 | 18149.394
Wall forms, job built; exterior; up to 8' high; 4 uses | 5850 | sf | 12.0977 | 70771.496
Chamfer strip; wood; 3/4" wide | 444.636 | lf | 3.0878 | 1372.962
Wall rebar; concrete; #3 - #4 | 0.86 | ton | 3721.4209 | 3200.422
Column rebar; #3 - #4 | 0.272 | ton | 5304.6949 | 1442.877
Column rebar; #5 - #6 | 0.383 | ton | 4344.4465 | 1663.923
Column concrete; 2500 or 3000 psi; by pump | 22.614 | cy | 306.8917 | 6940.048
Wall concrete; 2500 or 3000 psi; to 4'; by chute | 72.222 | cy | 190.6883 | 13771.889
Wall finish; break ties and patch holes | 2925 | sf | 2.1727 | 6355.23
Grouting for bases; non-shrink; non-metallic; 2" deep | 126.333 | sf | 40.3101 | 5092.496
Board insulation; polystyrene; wall; 2" thick, R8.33 | 2475 | sf | 1.8839 | 4662.661
A40 - Slabs on Grade | 0 |  |  | 150665.218
Slab forms, job built; edge; 6" high; 4 uses | 99 | lf | 10.9246 | 1081.533
Slab forms, job built; edge; 12" high; 4 uses | 48 | lf | 11.6416 | 558.796
Expansion joint, premolded, in slabs; polyethylene foam; 1/2" x 6" | 550 | lf | 4.2977 | 2363.746
Vapor barrier; 6 mil polyethylene | 13673 | sf | 0.37298 | 5099.804
Gravel porous fill, under floor slab, 3/4" stone | 258.112 | cy | 166.2504 | 42911.236
Slab rebar; #3 - #4 | 6.208 | ton | 3985.3041 | 24740.768
Slab on grade concrete; 3500 or 4000 psi; by chute | 259.89 | cy | 198.212 | 51513.314
Floor finish; screed | 13938 | sf | 1.358 | 18927.172
Concrete curing; sprayed membrane; slabs | 13938 | sf | 0.24888 | 3468.849

## 2
Superstructure Work | 17500 | gsf
Description | Quantity | Unit | Cost/Unit | Amount
B10 - Superstructure | 0 |  |  | 123062.913
Slab wire mesh; standard; 6" x 6"; W1.4 x W1.4 | 3125 | sf | 0.78221 | 2444.414
Elevated slab concrete; 2500 or 3000 psi; by pump | 40.992 | cy | 227.6073 | 9330.079
Floor finish; screed | 3125 | sf | 1.358 | 4243.605
Concrete curing; sprayed membrane; slabs | 3125 | sf | 0.24888 | 777.743
Structural steel; beams and girders, A-36; bolted | 1.848 | ton | 4793.4908 | 8858.371
Structural steel; tube; greater than 6" wide rectangular; heavy sections | 1.412 | ton | 6063.6381 | 8561.857
Metal joist; K series | 9.762 | ton | 3232.0418 | 31551.192
Metal deck; open type, galvanized; 1 1/2" deep; 20 ga | 3125 | sf | 5.5571 | 17365.858
Metal stair; pan type with cement fill, steel; per riser; tread; 4' wide | 21 | each | 471.6101 | 9903.813
Metal stair; pan type with cement fill, steel; per riser; landing | 41 | sf | 148.8755 | 6103.896
Railing, pipe; 1 1/2" dia, welded steel; 3-rail; galvanized | 120 | lf | 92.9982 | 11159.786
Railing, pipe; 1 1/2" dia, welded steel; wall mounted, single rail; galvanized | 35 | lf | 49.8614 | 1745.149
Fireproofing; sprayed on; 1" thick; on beams | 387.273 | sf | 3.8547 | 1492.812
Fireproofing; sprayed on; 1" thick; on columns | 120.885 | sf | 3.5935 | 434.406
Fireproofing; sprayed on; 1" thick; on decks; fluted surface | 3125 | sf | 2.9088 | 9089.932
B20 - Exterior Vertical Enclosures | 0 |  |  | 25302.962
Hollow metal frame, stock; 16 ga; 6 3/4" x 1 3/4"; 3'-0" x 7'-0" | 5 | each | 373.7642 | 1868.821
Hollow metal frame, stock; 16 ga; 6 3/4" x 1 3/4"; 6'-0" x 7'-0" | 1 | each | 496.452 | 496.452
Flush hollow metal door; heavy duty, unrated; 18 ga; 1 3/4" thick; 3'-0" x 7'-0" | 7 | each | 691.4983 | 4840.488
Sectional metal overhead door, complete; commercial grade; 12' x 12' | 3 | each | 3361.1927 | 10083.578
Steel window, primed; industrial; fixed sash | 18 | sf | 68.2153 | 1227.875
Hinges; 4" x 4" butts, steel, standard | 10.5 | pair | 35.351 | 371.185
Latchset, heavy duty; mortise | 1 | each | 341.821 | 341.821
Mortise locks and latchsets, chrome; entry lockset | 6 | each | 458.7543 | 2752.526
Door closer; surface mounted, traditional type, parallel arm; heavy duty | 7 | each | 474.3166 | 3320.216
F10 - Special Construction | 0 |  |  | 401952.257
Pre-engineered metal building; 100' x 150'; 25' eave height | 14060 | sf | 28.5884 | 401952.257

## 3
Interiors Work | 17500 | gsf
Description | Quantity | Unit | Cost/Unit | Amount
B20 - Exterior Vertical Enclosures | 0 |  |  | 13417.295
Metal framing; furring; on walls; 7/8" channel; 16" o.c. | 1987.5 | sf | 4.0146 | 7978.921
Drywall; plasterboard; 5/8"; nailed or screwed to walls | 1987.5 | sf | 1.7737 | 3525.308
Drywall; add for fire resistant | 1987.5 | sf | 0.13684 | 271.974
Drywall; add for taping and finishing joints; average | 1987.5 | sf | 0.82571 | 1641.092
C10 - Interior Construction | 0 |  |  | 104792.351
Blocking; steel construction; walls; 2" x 6" | 72 | lf | 10.2378 | 737.124
Batt insulation; wall, fiberglass; unfaced; 4" thick, R11 | 4700 | sf | 1.5874 | 7460.847
Hollow metal frame, stock; 16 ga; 4 3/4" x 1 3/4"; sidelight, complete; 1'-0" x 7'-2" | 7 | each | 641.7463 | 4492.224
Hollow metal frame, stock; 16 ga; 5 3/4" x 1 3/4"; 3'-0" x 7'-0" | 13 | each | 362.3602 | 4710.682
Hollow metal frame, stock; 16 ga; 5 3/4" x 1 3/4"; 6'-0" x 7'-0" | 1 | each | 445.137 | 445.137
Wood door; solid core; 1 3/4" thick; birch faced; 3'-0" x 7'-0" | 15 | each | 457.2115 | 6858.172
Top coiling grille, manually operated, steel or aluminum; opening; 6' high x 16' wide | 1 | each | 5583.656 | 5583.656
Hinges; 4" x 4" butts, steel, standard | 22.5 | pair | 35.3509 | 795.396
Latchset, heavy duty; cylindrical | 1 | each | 291.326 | 291.326
Lockset, heavy duty; cylindrical | 14 | each | 422.4647 | 5914.506
Metal framing; studs, non-load bearing, galvanized; 3 5/8"; 20 ga; 16" o.c. | 4700 | sf | 3.1536 | 14822.062
Drywall; plasterboard; 5/8"; nailed or screwed to walls | 8950 | sf | 1.7737 | 15874.961
Drywall; add for fire resistant | 8500 | sf | 0.13684 | 1163.16
Drywall; add for water resistant | 450 | sf | 0.21667 | 97.5
Drywall; add for taping and finishing joints; average | 8950 | sf | 0.82571 | 7390.077
Acoustical panels; mineral fiber; 3/4" thick; 2' x 2' | 2920 | sf | 4.1582 | 12142.006
Ceiling suspension system; T-bar; 2' x 2' | 2920 | sf | 2.9237 | 8537.329
Toilet partition; metal; floor mounted | 2 | each | 1182.403 | 2364.806
Toilet partition; wheelchair accessible; painted metal; floor mounted | 2 | each | 1638.544 | 3277.088
Toilet partition; urinal screen; painted metal; floor mounted | 2 | each | 633.968 | 1267.936
Grab bar, wall mounted; 1 1/2" dia; stainless steel; 36" long | 2 | each | 135.85 | 271.7
Grab bar, wall mounted; 1 1/2" dia; stainless steel; 42" long | 2 | each | 147.328 | 294.656
C20 - Interior Finishes | 0 |  |  | 44649.532
Scratch coat; for ceramic tile | 46.667 | sy | 14.9037 | 695.512
Tile; glazed ceramic wall; 4 1/4" x 4 1/4"; average | 420 | sf | 13.7409 | 5771.165
Tile; glazed ceramic base; 4 1/4" high; average | 105 | lf | 20.2692 | 2128.262
Tile; unglazed ceramic flooring; portland cement bed, cushion edge, face mounted; 2" x 2" | 275 | sf | 20.3549 | 5597.603
Resilient wall base, vinyl; group 1; 4" high | 690 | lf | 5.5782 | 3848.987
Resilient flooring; solid vinyl tile, 1/8" thick, 12" x 12"; solid colors | 140 | sf | 10.6837 | 1495.72
Carpet; tile; foam backed; average | 2560 | sf | 8.0142 | 20516.23
Paint ceilings; spray; first coat; average | 20 | sf | 0.4282 | 8.564
Paint ceilings; spray; second coat; average | 20 | sf | 0.3723 | 7.446
Paint walls; spray; first coat; average | 6735 | sf | 0.34923 | 2352.091
Paint walls; spray; second coat; average | 6735 | sf | 0.3308 | 2227.952

## 4
Building Services Work | 17500 | gsf
Description | Quantity | Unit | Cost/Unit | Amount
D20 - Plumbing | 0 |  |  | 149671.264
Plumbing Quote | 17500 | gsf | 8.5526 | 149671.264
D30 - HVAC | 0 |  |  | 209539.771
HVAC Quote | 17500 | gsf | 11.9737 | 209539.771
D40 - Fire Protection | 0 |  |  | 79824.675
Fire Suppression Quote | 17500 | gsf | 4.5614 | 79824.675
D50 - Electrical | 0 |  |  | 239474.024
Electrical Power & Lighting Quote | 17500 | gsf | 13.6842 | 239474.024