## Connectivity Audit (hidden)
Current SQL Instance Name | DESKTOP-BAV06SS\SAGE_ESTIMATING
Current Estimate Catalog Name | Estimates_ExportTesting
Current Estimate ID | 47
Current Estimate Name | Sample Estimate - Warehouse Project
Current Estimate Branch
Current Estimate User | DESKTOP-BAV06SS\MICROSOFT
Other Open Estimates by User | Name | ID | Branch
None

## Estimate Validation (hidden)
Validation Check | Status
Verify that the first five (5) rows in the totals page are category subtotals | Passed
Verify that all totals page addons have valid distribution criteria | Passed
Verify that recalculated addon amounts match stored application values | Passed
Verify the presence of at least two (2) different row sort values | Passed
Verify the presence of at least two (2) different column sort values | Passed
Verify that all column sort ID codes do not exceed 31 characters | Passed

## Crosstab Summary
| Total Project |  | Foundation Work |  | Superstructure Work |  | Interiors Work |  | Building Services Work
| 17500 | gsf | 14060 | sf | 17500 | gsf | 17500 | gsf | 17500 | gsf
Description | Amount | Unit Cost | Amount | Unit Cost | Amount | Unit Cost | Amount | Unit Cost | Amount | Unit Cost
031000.00 - Concrete Forming & Accessories | 167612.078 | 9.5778 | 167612.078 | 11.9212
032000.00 - Concrete Reinforcing | 41830.604 | 2.3903 | 39386.19 | 2.8013 | 2444.414 | 0.13968
033000.00 - Cast-in-Place Concrete | 126339.652 | 7.2194 | 111988.225 | 7.965 | 14351.427 | 0.82008
036000.00 - Grouting | 5092.496 | 0.291 | 5092.496 | 0.3622
051000.00 - Structural Metal Framing | 17420.228 | 0.99544 |  |  | 17420.228 | 0.99544
052000.00 - Metal Joists | 31551.192 | 1.8029 |  |  | 31551.192 | 1.8029
053000.00 - Metal Decking | 17365.858 | 0.99233 |  |  | 17365.858 | 0.99233
055000.00 - Metal Fabrications | 28912.644 | 1.6522 |  |  | 28912.644 | 1.6522
061000.00 - Rough Carpentry | 737.124 | 0.042121 |  |  |  |  | 737.124 | 0.042121
072000.00 - Thermal Protection | 12123.508 | 0.69277 | 4662.661 | 0.33163 |  |  | 7460.847 | 0.42633
078000.00 - Fire & Smoke Protection | 11017.15 | 0.62955 |  |  | 11017.15 | 0.62955
081000.00 - Doors & Frames | 23711.976 | 1.355 |  |  | 7205.761 | 0.41176 | 16506.215 | 0.94321
083000.00 - Specialty Doors & Frames | 15667.234 | 0.89527 |  |  | 10083.578 | 0.5762 | 5583.656 | 0.31907
085000.00 - Windows | 1227.875 | 0.070164 |  |  | 1227.875 | 0.070164
087000.00 - Hardware | 13786.976 | 0.78783 |  |  | 6785.748 | 0.38776 | 7001.228 | 0.40007
092000.00 - Plaster & Gypsum Board | 53460.568 | 3.0549 |  |  |  |  | 53460.568 | 3.0549
093000.00 - Tiling | 13497.03 | 0.77126 |  |  |  |  | 13497.03 | 0.77126
095000.00 - Ceilings | 20679.335 | 1.1817 |  |  |  |  | 20679.335 | 1.1817
096000.00 - Flooring | 25860.937 | 1.4778 |  |  |  |  | 25860.937 | 1.4778
099000.00 - Painting & Coating | 4596.053 | 0.26263 |  |  |  |  | 4596.053 | 0.26263
102000.00 - Interior Specialties | 7476.186 | 0.42721 |  |  |  |  | 7476.186 | 0.42721
133000.00 - Special Structures | 401952.257 | 22.9687 |  |  | 401952.257 | 22.9687
210000.00 - Fire Suppression - General | 79824.675 | 4.5614 | [6 empty] | 79824.675 | 4.5614
220000.00 - Plumbing - General | 149671.264 | 8.5526 | [6 empty] | 149671.264 | 8.5526
230000.00 - HVAC - General | 209539.771 | 11.9737 | [6 empty] | 209539.771 | 11.9737
260000.00 - Electrical - General | 239474.024 | 13.6842 | [6 empty] | 239474.024 | 13.6842
Grand Total | 1720428.695 | 98.3102 | 328741.65 | 23.3813 | 550318.132 | 31.4468 | 162859.179 | 9.3062 | 678509.734 | 38.772

## Addon Exception Audit (hidden)
The following addon(s) cannot be allocated and/or distributed for the reason(s) indicated and therefore the crosstab analysis cannot be generated. Please return to the estimate, adjust the addons as necessary to remedy the exception(s) listed below and run the export again. |  |  | No Categories Selected | Invalid Range Selected
Row | Description | Amount

## Addon Validation (hidden)
Position | Description | Current Dollar Amounts |  | Current Difference
|  | Calculated within Export Routine | Stored in Sage Estimating | Amount | %
1 | Labor | 681581.46 | 681581.46 | 0 | 0%
2 | Material | 740574.07 | 740574.07 | 0 | 0%
3 | Subcontract | 0 | 0 | 0 | 0%
4 | Equipment | 86525.96 | 86525.96 | 0 | 0%
5 | Other | 0 | 0 | 0 | 0%
6 | Trade Cost Subtotal | 1508681.49 | 1508681.49
7 | General Conditions | 105607.7 | 105607.7 | 0 | 0%
8 | Construction Cost Subtotal | 1614289.19 | 1614289.19
9 | Fee | 80714.46 | 80714.46 | 0 | 0%
10 | Insurance | 25425.05 | 25425.05 | 0 | 0%

## 1
Foundation Work | 14060 | sf
Description | Quantity | Unit | Cost/Unit | Amount
031000.00 - Concrete Forming & Accessories | 0 |  |  | 167612.078
Column forms; square, job built; 36" x 36"; 4 uses | 1055.205 | sf | 17.1999 | 18149.394
Footing forms, job built; continuous wall; 4 uses | 1170 | sf | 11.6415 | 13620.61
Footing forms, job built; column footing, spread; 4 uses | 582 | sf | 13.7143 | 7981.715
Slab forms, job built; edge; 6" high; 4 uses | 99 | lf | 10.9246 | 1081.533
Slab forms, job built; edge; 12" high; 4 uses | 48 | lf | 11.6416 | 558.796
Wall forms, job built; exterior; up to 8' high; 4 uses | 5850 | sf | 12.0977 | 70771.496
Keyway form (5 uses); 2" x 4" | 585 | lf | 6.3261 | 3700.786
Chamfer strip; wood; 3/4" wide | 444.636 | lf | 3.0878 | 1372.962
Expansion joint, premolded, in slabs; polyethylene foam; 1/2" x 6" | 550 | lf | 4.2977 | 2363.746
Vapor barrier; 6 mil polyethylene | 13673 | sf | 0.37298 | 5099.804
Gravel porous fill, under floor slab, 3/4" stone | 258.112 | cy | 166.2504 | 42911.236
032000.00 - Concrete Reinforcing | 0 |  |  | 39386.19
Wall rebar; concrete; #3 - #4 | 0.86 | ton | 3721.4209 | 3200.422
Column rebar; #3 - #4 | 0.272 | ton | 5304.6949 | 1442.877
Column rebar; #5 - #6 | 0.383 | ton | 4344.4465 | 1663.923
Footing rebar; grade 60; #3 - #4 | 1.235 | ton | 3985.315 | 4921.864
Footing rebar; grade 60; #5 - #6 | 0.986 | ton | 3464.8438 | 3416.336
Slab rebar; #3 - #4 | 6.208 | ton | 3985.3041 | 24740.768
033000.00 - Cast-in-Place Concrete | 0 |  |  | 111988.225
Column concrete; 2500 or 3000 psi; by pump | 22.614 | cy | 306.8917 | 6940.048
Continuous footing concrete; 2500 or 3000 psi; by chute | 28.889 | cy | 195.8616 | 5658.247
Spread footing concrete; 2500 or 3000 psi; under 5 cy; by chute | 27.333 | cy | 195.8613 | 5353.476
Slab on grade concrete; 3500 or 4000 psi; by chute | 259.89 | cy | 198.212 | 51513.314
Wall concrete; 2500 or 3000 psi; to 4'; by chute | 72.222 | cy | 190.6883 | 13771.889
Floor finish; screed | 13938 | sf | 1.358 | 18927.172
Wall finish; break ties and patch holes | 2925 | sf | 2.1727 | 6355.23
Concrete curing; sprayed membrane; slabs | 13938 | sf | 0.24888 | 3468.849
036000.00 - Grouting | 0 |  |  | 5092.496
Grouting for bases; non-shrink; non-metallic; 2" deep | 126.333 | sf | 40.3101 | 5092.496
072000.00 - Thermal Protection | 0 |  |  | 4662.661
Board insulation; polystyrene; wall; 2" thick, R8.33 | 2475 | sf | 1.8839 | 4662.661

## 2
Superstructure Work | 17500 | gsf
Description | Quantity | Unit | Cost/Unit | Amount
032000.00 - Concrete Reinforcing | 0 |  |  | 2444.414
Slab wire mesh; standard; 6" x 6"; W1.4 x W1.4 | 3125 | sf | 0.78221 | 2444.414
033000.00 - Cast-in-Place Concrete | 0 |  |  | 14351.427
Elevated slab concrete; 2500 or 3000 psi; by pump | 40.992 | cy | 227.6073 | 9330.079
Floor finish; screed | 3125 | sf | 1.358 | 4243.605
Concrete curing; sprayed membrane; slabs | 3125 | sf | 0.24888 | 777.743
051000.00 - Structural Metal Framing | 0 |  |  | 17420.228
Structural steel; beams and girders, A-36; bolted | 1.848 | ton | 4793.4908 | 8858.371
Structural steel; tube; greater than 6" wide rectangular; heavy sections | 1.412 | ton | 6063.6381 | 8561.857
052000.00 - Metal Joists | 0 |  |  | 31551.192
Metal joist; K series | 9.762 | ton | 3232.0418 | 31551.192
053000.00 - Metal Decking | 0 |  |  | 17365.858
Metal deck; open type, galvanized; 1 1/2" deep; 20 ga | 3125 | sf | 5.5571 | 17365.858
055000.00 - Metal Fabrications | 0 |  |  | 28912.644
Metal stair; pan type with cement fill, steel; per riser; tread; 4' wide | 21 | each | 471.6101 | 9903.813
Metal stair; pan type with cement fill, steel; per riser; landing | 41 | sf | 148.8755 | 6103.896
Railing, pipe; 1 1/2" dia, welded steel; 3-rail; galvanized | 120 | lf | 92.9982 | 11159.786
Railing, pipe; 1 1/2" dia, welded steel; wall mounted, single rail; galvanized | 35 | lf | 49.8614 | 1745.149
078000.00 - Fire & Smoke Protection | 0 |  |  | 11017.15
Fireproofing; sprayed on; 1" thick; on beams | 387.273 | sf | 3.8547 | 1492.812
Fireproofing; sprayed on; 1" thick; on columns | 120.885 | sf | 3.5935 | 434.406
Fireproofing; sprayed on; 1" thick; on decks; fluted surface | 3125 | sf | 2.9088 | 9089.932
081000.00 - Doors & Frames | 0 |  |  | 7205.761
Hollow metal frame, stock; 16 ga; 6 3/4" x 1 3/4"; 3'-0" x 7'-0" | 5 | each | 373.7642 | 1868.821
Hollow metal frame, stock; 16 ga; 6 3/4" x 1 3/4"; 6'-0" x 7'-0" | 1 | each | 496.452 | 496.452
Flush hollow metal door; heavy duty, unrated; 18 ga; 1 3/4" thick; 3'-0" x 7'-0" | 7 | each | 691.4983 | 4840.488
083000.00 - Specialty Doors & Frames | 0 |  |  | 10083.578
Sectional metal overhead door, complete; commercial grade; 12' x 12' | 3 | each | 3361.1927 | 10083.578
085000.00 - Windows | 0 |  |  | 1227.875
Steel window, primed; industrial; fixed sash | 18 | sf | 68.2153 | 1227.875
087000.00 - Hardware | 0 |  |  | 6785.748
Hinges; 4" x 4" butts, steel, standard | 10.5 | pair | 35.351 | 371.185
Latchset, heavy duty; mortise | 1 | each | 341.821 | 341.821
Mortise locks and latchsets, chrome; entry lockset | 6 | each | 458.7543 | 2752.526
Door closer; surface mounted, traditional type, parallel arm; heavy duty | 7 | each | 474.3166 | 3320.216
133000.00 - Special Structures | 0 |  |  | 401952.257
Pre-engineered metal building; 100' x 150'; 25' eave height | 14060 | sf | 28.5884 | 401952.257

## 3
Interiors Work | 17500 | gsf
Description | Quantity | Unit | Cost/Unit | Amount
061000.00 - Rough Carpentry | 0 |  |  | 737.124
Blocking; steel construction; walls; 2" x 6" | 72 | lf | 10.2378 | 737.124
072000.00 - Thermal Protection | 0 |  |  | 7460.847
Batt insulation; wall, fiberglass; unfaced; 4" thick, R11 | 4700 | sf | 1.5874 | 7460.847
081000.00 - Doors & Frames | 0 |  |  | 16506.215
Hollow metal frame, stock; 16 ga; 4 3/4" x 1 3/4"; sidelight, complete; 1'-0" x 7'-2" | 7 | each | 641.7463 | 4492.224
Hollow metal frame, stock; 16 ga; 5 3/4" x 1 3/4"; 3'-0" x 7'-0" | 13 | each | 362.3602 | 4710.682
Hollow metal frame, stock; 16 ga; 5 3/4" x 1 3/4"; 6'-0" x 7'-0" | 1 | each | 445.137 | 445.137
Wood door; solid core; 1 3/4" thick; birch faced; 3'-0" x 7'-0" | 15 | each | 457.2115 | 6858.172
083000.00 - Specialty Doors & Frames | 0 |  |  | 5583.656
Top coiling grille, manually operated, steel or aluminum; opening; 6' high x 16' wide | 1 | each | 5583.656 | 5583.656
087000.00 - Hardware | 0 |  |  | 7001.228
Hinges; 4" x 4" butts, steel, standard | 22.5 | pair | 35.3509 | 795.396
Latchset, heavy duty; cylindrical | 1 | each | 291.326 | 291.326
Lockset, heavy duty; cylindrical | 14 | each | 422.4647 | 5914.506
092000.00 - Plaster & Gypsum Board | 0 |  |  | 53460.568
Metal framing; furring; on walls; 7/8" channel; 16" o.c. | 1987.5 | sf | 4.0146 | 7978.921
Metal framing; studs, non-load bearing, galvanized; 3 5/8"; 20 ga; 16" o.c. | 4700 | sf | 3.1536 | 14822.062
Scratch coat; for ceramic tile | 46.667 | sy | 14.9037 | 695.512
Drywall; plasterboard; 5/8"; nailed or screwed to walls | 10937.5 | sf | 1.7737 | 19400.269
Drywall; add for fire resistant | 10487.5 | sf | 0.13684 | 1435.134
Drywall; add for water resistant | 450 | sf | 0.21667 | 97.5
Drywall; add for taping and finishing joints; average | 10937.5 | sf | 0.82571 | 9031.17
093000.00 - Tiling | 0 |  |  | 13497.03
Tile; glazed ceramic wall; 4 1/4" x 4 1/4"; average | 420 | sf | 13.7409 | 5771.165
Tile; glazed ceramic base; 4 1/4" high; average | 105 | lf | 20.2692 | 2128.262
Tile; unglazed ceramic flooring; portland cement bed, cushion edge, face mounted; 2" x 2" | 275 | sf | 20.3549 | 5597.603
095000.00 - Ceilings | 0 |  |  | 20679.335
Acoustical panels; mineral fiber; 3/4" thick; 2' x 2' | 2920 | sf | 4.1582 | 12142.006
Ceiling suspension system; T-bar; 2' x 2' | 2920 | sf | 2.9237 | 8537.329
096000.00 - Flooring | 0 |  |  | 25860.937
Resilient wall base, vinyl; group 1; 4" high | 690 | lf | 5.5782 | 3848.987
Resilient flooring; solid vinyl tile, 1/8" thick, 12" x 12"; solid colors | 140 | sf | 10.6837 | 1495.72
Carpet; tile; foam backed; average | 2560 | sf | 8.0142 | 20516.23
099000.00 - Painting & Coating | 0 |  |  | 4596.053
Paint ceilings; spray; first coat; average | 20 | sf | 0.4282 | 8.564
Paint ceilings; spray; second coat; average | 20 | sf | 0.3723 | 7.446
Paint walls; spray; first coat; average | 6735 | sf | 0.34923 | 2352.091
Paint walls; spray; second coat; average | 6735 | sf | 0.3308 | 2227.952
102000.00 - Interior Specialties | 0 |  |  | 7476.186
Toilet partition; metal; floor mounted | 2 | each | 1182.403 | 2364.806
Toilet partition; wheelchair accessible; painted metal; floor mounted | 2 | each | 1638.544 | 3277.088
Toilet partition; urinal screen; painted metal; floor mounted | 2 | each | 633.968 | 1267.936
Grab bar, wall mounted; 1 1/2" dia; stainless steel; 36" long | 2 | each | 135.85 | 271.7
Grab bar, wall mounted; 1 1/2" dia; stainless steel; 42" long | 2 | each | 147.328 | 294.656

## 4
Building Services Work | 17500 | gsf
Description | Quantity | Unit | Cost/Unit | Amount
210000.00 - Fire Suppression - General | 0 |  |  | 79824.675
Fire Suppression Quote | 17500 | gsf | 4.5614 | 79824.675
220000.00 - Plumbing - General | 0 |  |  | 149671.264
Plumbing Quote | 17500 | gsf | 8.5526 | 149671.264
230000.00 - HVAC - General | 0 |  |  | 209539.771
HVAC Quote | 17500 | gsf | 11.9737 | 209539.771
260000.00 - Electrical - General | 0 |  |  | 239474.024
Electrical Power & Lighting Quote | 17500 | gsf | 13.6842 | 239474.024