## Connectivity Audit (hidden)
Current SQL Instance Name | DESKTOP-BAV06SS\SAGE_ESTIMATING
Current Estimate Catalog Name | Estimates_ExportTesting
Current Estimate ID | 47
Current Estimate Name | Sample Estimate - Warehouse Project
Current Estimate Branch
Current Estimate User | DESKTOP-BAV06SS\MICROSOFT
Other Open Estimates by User | Name | ID | Branch
None

## Estimate Validation (hidden)
Validation Check | Status
Verify that the first five (5) rows in the totals page are category subtotals | Passed
Verify that all totals page addons have valid distribution criteria | Passed
Verify that recalculated addon amounts match stored application values | Passed
Verify the presence of at least two (2) different row sort values | Passed
Verify the presence of at least two (2) different column sort values | Passed
Verify that all column sort ID codes do not exceed 31 characters | Passed

## Crosstab Summary
| Total Project |  | SUBSTRUCTURE |  | SHELL |  | INTERIORS |  | SERVICES |  | SPECIAL CONSTRUCTION & DEMOLITION
| 17500 | gsf | 14060 | sf | 17500 | gsf | 17500 | gsf | 17500 | gsf | 14060 | sf
Description | Amount | Unit Cost | Amount | Unit Cost | Amount | Unit Cost | Amount | Unit Cost | Amount | Unit Cost | Amount | Unit Cost
03100 - Concrete Forms & Accessories | 146982.69 | 8.399 | 146982.69 | 10.454
03200 - Concrete Reinforcement | 36682.17 | 2.0961 | 34538.61 | 2.4565 | 2143.56 | 0.12249
03300 - Cast-in-Place Concrete | 110790 | 6.3309 | 98204.92 | 6.9847 | 12585.08 | 0.71915
03600 - Grouts | 4465.72 | 0.25518 | 4465.72 | 0.31762
05100 - Structural Metal Framing | 15276.18 | 0.87292 |  |  | 15276.18 | 0.87292
05200 - Metal Joists | 27667.93 | 1.581 |  |  | 27667.93 | 1.581
05300 - Metal Deck | 15228.5 | 0.8702 |  |  | 15228.5 | 0.8702
05500 - Metal Fabrications | 25354.13 | 1.4488 |  |  |  |  | 25354.13 | 1.4488
06100 - Rough Carpentry | 646.4 | 0.036937 |  |  |  |  | 646.4 | 0.036937
07200 - Thermal Protection | 10631.37 | 0.60751 | 4088.79 | 0.29081 |  |  | 6542.58 | 0.37386
07800 - Fire & Smoke Protection | 9661.18 | 0.55207 |  |  | 9661.18 | 0.55207
08100 - Metal Doors & Frames | 14779.47 | 0.84454 |  |  | 6318.89 | 0.36108 | 8460.58 | 0.48346
08200 - Wood & Plastic Doors | 6014.08 | 0.34366 |  |  |  |  | 6014.08 | 0.34366
08300 - Specialty Doors | 13738.94 | 0.78508 |  |  | 8842.51 | 0.50529 | 4896.43 | 0.2798
08500 - Windows | 1076.75 | 0.061529 |  |  | 1076.75 | 0.061529
08700 - Hardware | 12090.1 | 0.69086 |  |  | 5950.57 | 0.34003 | 6139.53 | 0.35083
09100 - Metal Support Assemblies | 20484.36 | 1.1705 |  |  |  |  | 20484.36 | 1.1705
09200 - Plaster & Gypsum Board | 33882.95 | 1.9362 |  |  | 11765.92 | 0.67234 | 22117.03 | 1.2638
09300 - Tile | 11835.84 | 0.67633 |  |  |  |  | 11835.84 | 0.67633
09500 - Ceilings | 10647.59 | 0.60843 |  |  |  |  | 10647.59 | 0.60843
09600 - Flooring | 22678.02 | 1.2959 |  |  |  |  | 22678.02 | 1.2959
09900 - Paints & Coatings | 4030.38 | 0.23031 |  |  |  |  | 4030.38 | 0.23031
10150 - Compartments & Cubicles | 6059.38 | 0.34625 |  |  |  |  | 6059.38 | 0.34625
10800 - Toilet, Bath & Laundry Accessories | 496.65 | 0.02838 |  |  |  |  | 496.65 | 0.02838
13120 - Pre-Engineered Structures | 352480.71 | 20.1418 | [8 empty] | 352480.71 | 25.0698
13900 - Fire Suppression | 70000 | 4 | [6 empty] | 70000 | 4
15400 - Plumbing Fixtures & Equipment | 131250 | 7.5 | [6 empty] | 131250 | 7.5
15700 - Heating, Ventilating & Air Conditioning Equipment | 183750 | 10.5 | [6 empty] | 183750 | 10.5
16200 - Electrical Power | 210000 | 12 | [6 empty] | 210000 | 12
Trade Cost Subtotal | 1508681.49 | 86.2104 | 288280.73 | 20.5036 | 116517.07 | 6.6581 | 156402.98 | 8.9373 | 595000 | 34 | 352480.71 | 25.0698
General Conditions | 105607.7 | 6.0347 | 20179.65 | 1.4353 | 8156.195 | 0.46607 | 10948.208 | 0.62561 | 41649.998 | 2.38 | 24673.649 | 1.7549
Construction Cost Subtotal | 1614289.19 | 92.2451 | 308460.38 | 21.9389 | 124673.265 | 7.1242 | 167351.188 | 9.5629 | 636649.998 | 36.38 | 377154.359 | 26.8246
Fee | 80714.459 | 4.6123 | 15423.019 | 1.0969 | 6233.663 | 0.35621 | 8367.559 | 0.47815 | 31832.5 | 1.819 | 18857.718 | 1.3412
Insurance | 25425.051 | 1.4529 | 4858.25 | 0.34554 | 1963.604 | 0.11221 | 2635.781 | 0.15062 | 10027.236 | 0.57298 | 5940.18 | 0.42249
Grand Total | 1720428.7 | 98.3102 | 328741.649 | 23.3813 | 132870.532 | 7.5926 | 178354.528 | 10.1917 | 678509.734 | 38.772 | 401952.257 | 28.5884

## Addon Exception Audit (hidden)
The following addon(s) cannot be allocated and/or distributed for the reason(s) indicated and therefore the crosstab analysis cannot be generated. Please return to the estimate, adjust the addons as necessary to remedy the exception(s) listed below and run the export again. |  |  | No Categories Selected | Invalid Range Selected
Row | Description | Amount

## Addon Validation (hidden)
Position | Description | Current Dollar Amounts |  | Current Difference
|  | Calculated within Export Routine | Stored in Sage Estimating | Amount | %
1 | Labor | 681581.46 | 681581.46 | 0 | 0%
2 | Material | 740574.07 | 740574.07 | 0 | 0%
3 | Subcontract | 0 | 0 | 0 | 0%
4 | Equipment | 86525.96 | 86525.96 | 0 | 0%
5 | Other | 0 | 0 | 0 | 0%
6 | Trade Cost Subtotal | 1508681.49 | 1508681.49
7 | General Conditions | 105607.7 | 105607.7 | 0 | 0%
8 | Construction Cost Subtotal | 1614289.19 | 1614289.19
9 | Fee | 80714.46 | 80714.46 | 0 | 0%
10 | Insurance | 25425.05 | 25425.05 | 0 | 0%

## A
SUBSTRUCTURE | 14060 | sf
Description | Quantity | Unit | Cost/Unit | Amount
03100 - Concrete Forms & Accessories | 0 |  |  | 146982.69
Column forms; square, job built; 36" x 36"; 4 uses | 1055.205 | sf | 15.0829 | 15915.6
Footing forms, job built; continuous wall; 4 uses | 1170 | sf | 10.2087 | 11944.21
Footing forms, job built; column footing, spread; 4 uses | 582 | sf | 12.0264 | 6999.34
Slab forms, job built; edge; 6" high; 4 uses | 99 | lf | 9.58 | 948.42
Slab forms, job built; edge; 12" high; 4 uses | 48 | lf | 10.2088 | 490.02
Wall forms, job built; exterior; up to 8' high; 4 uses | 5850 | sf | 10.6087 | 62061.07
Keyway form (5 uses); 2" x 4" | 585 | lf | 5.5475 | 3245.3
Chamfer strip; wood; 3/4" wide | 444.636 | lf | 2.7078 | 1203.98
Expansion joint, premolded, in slabs; polyethylene foam; 1/2" x 6" | 550 | lf | 3.7688 | 2072.82
Vapor barrier; 6 mil polyethylene | 13673 | sf | 0.32708 | 4472.13
Gravel porous fill, under floor slab, 3/4" stone | 258.112 | cy | 145.7886 | 37629.8
03200 - Concrete Reinforcement | 0 |  |  | 34538.61
Wall rebar; concrete; #3 - #4 | 0.86 | ton | 3263.3953 | 2806.52
Column rebar; #3 - #4 | 0.272 | ton | 4651.8015 | 1265.29
Column rebar; #5 - #6 | 0.383 | ton | 3809.7389 | 1459.13
Footing rebar; grade 60; #3 - #4 | 1.235 | ton | 3494.8097 | 4316.09
Footing rebar; grade 60; #5 - #6 | 0.986 | ton | 3038.3976 | 2995.86
Slab rebar; #3 - #4 | 6.208 | ton | 3494.8003 | 21695.72
03300 - Cast-in-Place Concrete | 0 |  |  | 98204.92
Column concrete; 2500 or 3000 psi; by pump | 22.614 | cy | 269.12 | 6085.88
Continuous footing concrete; 2500 or 3000 psi; by chute | 28.889 | cy | 171.7553 | 4961.84
Spread footing concrete; 2500 or 3000 psi; under 5 cy; by chute | 27.333 | cy | 171.755 | 4694.58
Slab on grade concrete; 3500 or 4000 psi; by chute | 259.89 | cy | 173.8164 | 45173.15
Wall concrete; 2500 or 3000 psi; to 4'; by chute | 72.222 | cy | 167.2187 | 12076.87
Floor finish; screed | 13938 | sf | 1.1908 | 16597.65
Wall finish; break ties and patch holes | 2925 | sf | 1.9053 | 5573.04
Concrete curing; sprayed membrane; slabs | 13938 | sf | 0.21825 | 3041.91
03600 - Grouts | 0 |  |  | 4465.72
Grouting for bases; non-shrink; non-metallic; 2" deep | 126.333 | sf | 35.3488 | 4465.72
07200 - Thermal Protection | 0 |  |  | 4088.79
Board insulation; polystyrene; wall; 2" thick, R8.33 | 2475 | sf | 1.652 | 4088.79

## B
SHELL | 17500 | gsf
Description | Quantity | Unit | Cost/Unit | Amount
03200 - Concrete Reinforcement | 0 |  |  | 2143.56
Slab wire mesh; standard; 6" x 6"; W1.4 x W1.4 | 3125 | sf | 0.68594 | 2143.56
03300 - Cast-in-Place Concrete | 0 |  |  | 12585.08
Elevated slab concrete; 2500 or 3000 psi; by pump | 40.992 | cy | 199.5938 | 8181.75
Floor finish; screed | 3125 | sf | 1.1908 | 3721.31
Concrete curing; sprayed membrane; slabs | 3125 | sf | 0.21825 | 682.02
05100 - Structural Metal Framing | 0 |  |  | 15276.18
Structural steel; beams and girders, A-36; bolted | 1.848 | ton | 4203.5173 | 7768.1
Structural steel; tube; greater than 6" wide rectangular; heavy sections | 1.412 | ton | 5317.3371 | 7508.08
05200 - Metal Joists | 0 |  |  | 27667.93
Metal joist; K series | 9.762 | ton | 2834.2481 | 27667.93
05300 - Metal Deck | 0 |  |  | 15228.5
Metal deck; open type, galvanized; 1 1/2" deep; 20 ga | 3125 | sf | 4.8731 | 15228.5
07800 - Fire & Smoke Protection | 0 |  |  | 9661.18
Fireproofing; sprayed on; 1" thick; on beams | 387.273 | sf | 3.3803 | 1309.08
Fireproofing; sprayed on; 1" thick; on columns | 120.885 | sf | 3.1513 | 380.94
Fireproofing; sprayed on; 1" thick; on decks; fluted surface | 3125 | sf | 2.5508 | 7971.16
08100 - Metal Doors & Frames | 0 |  |  | 6318.89
Hollow metal frame, stock; 16 ga; 6 3/4" x 1 3/4"; 3'-0" x 7'-0" | 5 | each | 327.762 | 1638.81
Hollow metal frame, stock; 16 ga; 6 3/4" x 1 3/4"; 6'-0" x 7'-0" | 1 | each | 435.35 | 435.35
Flush hollow metal door; heavy duty, unrated; 18 ga; 1 3/4" thick; 3'-0" x 7'-0" | 7 | each | 606.39 | 4244.73
08300 - Specialty Doors | 0 |  |  | 8842.51
Sectional metal overhead door, complete; commercial grade; 12' x 12' | 3 | each | 2947.5033 | 8842.51
08500 - Windows | 0 |  |  | 1076.75
Steel window, primed; industrial; fixed sash | 18 | sf | 59.8194 | 1076.75
08700 - Hardware | 0 |  |  | 5950.57
Hinges; 4" x 4" butts, steel, standard | 10.5 | pair | 31 | 325.5
Latchset, heavy duty; mortise | 1 | each | 299.75 | 299.75
Mortise locks and latchsets, chrome; entry lockset | 6 | each | 402.2917 | 2413.75
Door closer; surface mounted, traditional type, parallel arm; heavy duty | 7 | each | 415.9386 | 2911.57
09200 - Plaster & Gypsum Board | 0 |  |  | 11765.92
Metal framing; furring; on walls; 7/8" channel; 16" o.c. | 1987.5 | sf | 3.5204 | 6996.89
Drywall; plasterboard; 5/8"; nailed or screwed to walls | 1987.5 | sf | 1.5554 | 3091.42
Drywall; add for fire resistant | 1987.5 | sf | 0.12 | 238.5
Drywall; add for taping and finishing joints; average | 1987.5 | sf | 0.72408 | 1439.11

## C
INTERIORS | 17500 | gsf
Description | Quantity | Unit | Cost/Unit | Amount
05500 - Metal Fabrications | 0 |  |  | 25354.13
Metal stair; pan type with cement fill, steel; per riser; tread; 4' wide | 21 | each | 413.5652 | 8684.87
Metal stair; pan type with cement fill, steel; per riser; landing | 41 | sf | 130.5522 | 5352.64
Railing, pipe; 1 1/2" dia, welded steel; 3-rail; galvanized | 120 | lf | 81.5522 | 9786.26
Railing, pipe; 1 1/2" dia, welded steel; wall mounted, single rail; galvanized | 35 | lf | 43.7246 | 1530.36
06100 - Rough Carpentry | 0 |  |  | 646.4
Blocking; steel construction; walls; 2" x 6" | 72 | lf | 8.9778 | 646.4
07200 - Thermal Protection | 0 |  |  | 6542.58
Batt insulation; wall, fiberglass; unfaced; 4" thick, R11 | 4700 | sf | 1.392 | 6542.58
08100 - Metal Doors & Frames | 0 |  |  | 8460.58
Hollow metal frame, stock; 16 ga; 4 3/4" x 1 3/4"; sidelight, complete; 1'-0" x 7'-2" | 7 | each | 562.7614 | 3939.33
Hollow metal frame, stock; 16 ga; 5 3/4" x 1 3/4"; 3'-0" x 7'-0" | 13 | each | 317.7615 | 4130.9
Hollow metal frame, stock; 16 ga; 5 3/4" x 1 3/4"; 6'-0" x 7'-0" | 1 | each | 390.35 | 390.35
08200 - Wood & Plastic Doors | 0 |  |  | 6014.08
Wood door; solid core; 1 3/4" thick; birch faced; 3'-0" x 7'-0" | 15 | each | 400.9387 | 6014.08
08300 - Specialty Doors | 0 |  |  | 4896.43
Top coiling grille, manually operated, steel or aluminum; opening; 6' high x 16' wide | 1 | each | 4896.43 | 4896.43
08700 - Hardware | 0 |  |  | 6139.53
Hinges; 4" x 4" butts, steel, standard | 22.5 | pair | 31 | 697.5
Latchset, heavy duty; cylindrical | 1 | each | 255.47 | 255.47
Lockset, heavy duty; cylindrical | 14 | each | 370.4686 | 5186.56
09100 - Metal Support Assemblies | 0 |  |  | 20484.36
Metal framing; studs, non-load bearing, galvanized; 3 5/8"; 20 ga; 16" o.c. | 4700 | sf | 2.7655 | 12997.79
Ceiling suspension system; T-bar; 2' x 2' | 2920 | sf | 2.5639 | 7486.57
09200 - Plaster & Gypsum Board | 0 |  |  | 22117.03
Scratch coat; for ceramic tile | 46.667 | sy | 13.0694 | 609.91
Drywall; plasterboard; 5/8"; nailed or screwed to walls | 8950 | sf | 1.5554 | 13921.1
Drywall; add for fire resistant | 8500 | sf | 0.12 | 1020
Drywall; add for water resistant | 450 | sf | 0.19 | 85.5
Drywall; add for taping and finishing joints; average | 8950 | sf | 0.72408 | 6480.52
09300 - Tile | 0 |  |  | 11835.84
Tile; glazed ceramic wall; 4 1/4" x 4 1/4"; average | 420 | sf | 12.0497 | 5060.86
Tile; glazed ceramic base; 4 1/4" high; average | 105 | lf | 17.7745 | 1866.32
Tile; unglazed ceramic flooring; portland cement bed, cushion edge, face mounted; 2" x 2" | 275 | sf | 17.8497 | 4908.66
09500 - Ceilings | 0 |  |  | 10647.59
Acoustical panels; mineral fiber; 3/4" thick; 2' x 2' | 2920 | sf | 3.6464 | 10647.59
09600 - Flooring | 0 |  |  | 22678.02
Resilient wall base, vinyl; group 1; 4" high | 690 | lf | 4.8917 | 3375.26
Resilient flooring; solid vinyl tile, 1/8" thick, 12" x 12"; solid colors | 140 | sf | 9.3688 | 1311.63
Carpet; tile; foam backed; average | 2560 | sf | 7.0278 | 17991.13
09900 - Paints & Coatings | 0 |  |  | 4030.38
Paint ceilings; spray; first coat; average | 20 | sf | 0.3755 | 7.51
Paint ceilings; spray; second coat; average | 20 | sf | 0.3265 | 6.53
Paint walls; spray; first coat; average | 6735 | sf | 0.30625 | 2062.6
Paint walls; spray; second coat; average | 6735 | sf | 0.29009 | 1953.74
10150 - Compartments & Cubicles | 0 |  |  | 6059.38
Toilet partition; metal; floor mounted | 2 | each | 1036.875 | 2073.75
Toilet partition; wheelchair accessible; painted metal; floor mounted | 2 | each | 1436.875 | 2873.75
Toilet partition; urinal screen; painted metal; floor mounted | 2 | each | 555.94 | 1111.88
10800 - Toilet, Bath & Laundry Accessories | 0 |  |  | 496.65
Grab bar, wall mounted; 1 1/2" dia; stainless steel; 36" long | 2 | each | 119.13 | 238.26
Grab bar, wall mounted; 1 1/2" dia; stainless steel; 42" long | 2 | each | 129.195 | 258.39

## D
SERVICES | 17500 | gsf
Description | Quantity | Unit | Cost/Unit | Amount
13900 - Fire Suppression | 0 |  |  | 70000
Fire Suppression Quote | 17500 | gsf | 4 | 70000
15400 - Plumbing Fixtures & Equipment | 0 |  |  | 131250
Plumbing Quote | 17500 | gsf | 7.5 | 131250
15700 - Heating, Ventilating & Air Conditioning Equipment | 0 |  |  | 183750
HVAC Quote | 17500 | gsf | 10.5 | 183750
16200 - Electrical Power | 0 |  |  | 210000
Electrical Power & Lighting Quote | 17500 | gsf | 12 | 210000

## F
SPECIAL CONSTRUCTION & DEMOLITION | 14060 | sf
Description | Quantity | Unit | Cost/Unit | Amount
13120 - Pre-Engineered Structures | 0 |  |  | 352480.71
Pre-engineered metal building; 100' x 150'; 25' eave height | 14060 | sf | 25.0698 | 352480.71