## Connectivity Audit (hidden)
Current SQL Instance Name | DESKTOP-BAV06SS\SAGE_ESTIMATING
Current Estimate Catalog Name | Estimates_ExportTesting
Current Estimate ID | 47
Current Estimate Name | Sample Estimate - Warehouse Project
Current Estimate Branch
Current Estimate User | DESKTOP-BAV06SS\MICROSOFT
Other Open Estimates by User | Name | ID | Branch
None

## Estimate Validation (hidden)
Validation Check | Status
Verify that the first five (5) rows in the totals page are category subtotals | Passed
Verify that all totals page addons have valid distribution criteria | Passed
Verify that recalculated addon amounts match stored application values | Passed

## Addon Exception Audit (hidden)
The following addon(s) cannot be allocated for the reason(s) indicated and therefore the requested addon distribution cannot be generated. Please return to the estimate, adjust the addons as necessary to remedy the exception(s) listed below and run the export again. |  |  | No Categories Selected | Invalid Range Selected
Row | Description | Amount

## Addon Validation (hidden)
Position | Description | Current Dollar Amounts |  | Current Difference
|  | Calculated within Export Routine | Stored in Sage Estimating | Amount | %
1 | Labor | 681581.46 | 681581.46 | 0 | 0%
2 | Material | 740574.07 | 740574.07 | 0 | 0%
3 | Subcontract | 0 | 0 | 0 | 0%
4 | Equipment | 86525.96 | 86525.96 | 0 | 0%
5 | Other | 0 | 0 | 0 | 0%
6 | Trade Cost Subtotal | 1508681.49 | 1508681.49
7 | General Conditions | 105607.7 | 105607.7 | 0 | 0%
8 | Construction Cost Subtotal | 1614289.19 | 1614289.19
9 | Fee | 80714.46 | 80714.46 | 0 | 0%
10 | Insurance | 25425.05 | 25425.05 | 0 | 0%

## Estimate Detail
Description | Quantity | Unit | Cost/Unit | Amount
03 - CONCRETE | 0 |  |  | 340874.8289
031000.00 - Concrete Forming & Accessories | 0 |  |  | 167612.0771
031113.15 - Column Formwork | 0 |  |  | 18149.3942
Column forms; square, job built; 36" x 36"; 4 uses | 1055.205 | sf | 17.1999 | 18149.3942
031113.35 - Footing Formwork | 0 |  |  | 21602.3245
Footing forms, job built; continuous wall; 4 uses | 1170 | sf | 11.6415 | 13620.6097
Footing forms, job built; column footing, spread; 4 uses | 582 | sf | 13.7143 | 7981.7148
031113.55 - Slab/Mat Formwork | 0 |  |  | 1640.3286
Slab forms, job built; edge; 6" high; 4 uses | 99 | lf | 10.9246 | 1081.5331
Slab forms, job built; edge; 12" high; 4 uses | 48 | lf | 11.6416 | 558.7955
031113.65 - Wall Formwork | 0 |  |  | 70771.496
Wall forms, job built; exterior; up to 8' high; 4 uses | 5850 | sf | 12.0977 | 70771.496
031113.90 - Miscellaneous Formwork | 0 |  |  | 5073.7475
Keyway form (5 uses); 2" x 4" | 585 | lf | 6.3261 | 3700.7859
Chamfer strip; wood; 3/4" wide | 444.636 | lf | 3.0878 | 1372.9616
031516.00 - Concrete Construction Joints | 0 |  |  | 2363.7455
Expansion joint, premolded, in slabs; polyethylene foam; 1/2" x 6" | 550 | lf | 4.2977 | 2363.7455
031550.00 - Miscellaneous Concrete Accessories | 0 |  |  | 48011.0409
Vapor barrier; 6 mil polyethylene | 13673 | sf | 0.37298 | 5099.8046
Gravel porous fill, under floor slab, 3/4" stone | 258.112 | cy | 166.2505 | 42911.2363
032000.00 - Concrete Reinforcing | 0 |  |  | 41830.6041
032111.00 - Plain Steel Reinforcement Bars | 0 |  |  | 39386.1901
Wall rebar; concrete; #3 - #4 | 0.86 | ton | 3721.421 | 3200.4221
Column rebar; #3 - #4 | 0.272 | ton | 5304.6934 | 1442.8766
Column rebar; #5 - #6 | 0.383 | ton | 4344.4453 | 1663.9225
Footing rebar; grade 60; #3 - #4 | 1.235 | ton | 3985.315 | 4921.864
Footing rebar; grade 60; #5 - #6 | 0.986 | ton | 3464.8442 | 3416.3364
Slab rebar; #3 - #4 | 6.208 | ton | 3985.3042 | 24740.7684
032211.00 - Plain Steel Welded Wire Fabric Reinforcing | 0 |  |  | 2444.414
Slab wire mesh; standard; 6" x 6"; W1.4 x W1.4 | 3125 | sf | 0.78221 | 2444.414
033000.00 - Cast-in-Place Concrete | 0 |  |  | 126339.6528
033100.15 - Column Concrete | 0 |  |  | 6940.0484
Column concrete; 2500 or 3000 psi; by pump | 22.614 | cy | 306.8917 | 6940.0484
033100.20 - Elevated Slab Concrete | 0 |  |  | 9330.079
Elevated slab concrete; 2500 or 3000 psi; by pump | 40.992 | cy | 227.6073 | 9330.079
033100.35 - Footing Concrete | 0 |  |  | 11011.7226
Continuous footing concrete; 2500 or 3000 psi; by chute | 28.889 | cy | 195.8616 | 5658.2466
Spread footing concrete; 2500 or 3000 psi; under 5 cy; by chute | 27.333 | cy | 195.8613 | 5353.476
033100.55 - Slab/Mat Concrete | 0 |  |  | 51513.3143
Slab on grade concrete; 3500 or 4000 psi; by chute | 259.89 | cy | 198.212 | 51513.3143
033100.65 - Wall Concrete | 0 |  |  | 13771.8888
Wall concrete; 2500 or 3000 psi; to 4'; by chute | 72.222 | cy | 190.6883 | 13771.8888
033529.00 - Tooled Concrete Finishing | 0 |  |  | 29526.0068
Floor finish; screed | 17063 | sf | 1.358 | 23170.7767
Wall finish; break ties and patch holes | 2925 | sf | 2.1727 | 6355.2301
033923.00 - Membrane Concrete Curing | 0 |  |  | 4246.5929
Concrete curing; sprayed membrane; slabs | 17063 | sf | 0.24888 | 4246.5929
036000.00 - Grouting | 0 |  |  | 5092.4949
036213.00 - Non-Metallic Non-Shrink Grouting | 0 |  |  | 5092.4949
Grouting for bases; non-shrink; non-metallic; 2" deep | 126.333 | sf | 40.3101 | 5092.4949
05 - METALS | 0 |  |  | 95249.9263
051000.00 - Structural Metal Framing | 0 |  |  | 17420.23
051223.00 - Structural Steel for Buildings | 0 |  |  | 17420.23
Structural steel; beams and girders, A-36; bolted | 1.848 | ton | 4793.4915 | 8858.3722
Structural steel; tube; greater than 6" wide rectangular; heavy sections | 1.412 | ton | 6063.6386 | 8561.8577
052000.00 - Metal Joists | 0 |  |  | 31551.193
052119.00 - Open Web Steel Joist Framing | 0 |  |  | 31551.193
Metal joist; K series | 9.762 | ton | 3232.0419 | 31551.193
053000.00 - Metal Decking | 0 |  |  | 17365.858
053113.00 - Steel Floor Decking | 0 |  |  | 17365.858
Metal deck; open type, galvanized; 1 1/2" deep; 20 ga | 3125 | sf | 5.5571 | 17365.858
055000.00 - Metal Fabrications | 0 |  |  | 28912.6454
055113.00 - Metal Pan Stairs | 0 |  |  | 16007.7095
Metal stair; pan type with cement fill, steel; per riser; tread; 4' wide | 21 | each | 471.6102 | 9903.8132
Metal stair; pan type with cement fill, steel; per riser; landing | 41 | sf | 148.8755 | 6103.8964
055213.00 - Pipe & Tube Railings | 0 |  |  | 12904.9358
Railing, pipe; 1 1/2" dia, welded steel; 3-rail; galvanized | 120 | lf | 92.9982 | 11159.786
Railing, pipe; 1 1/2" dia, welded steel; wall mounted, single rail; galvanized | 35 | lf | 49.8614 | 1745.1498
06 - WOOD, PLASTICS & COMPOSITES | 0 |  |  | 737.1239
061000.00 - Rough Carpentry | 0 |  |  | 737.1239
061100.10 - Blocking | 0 |  |  | 737.1239
Blocking; steel construction; walls; 2" x 6" | 72 | lf | 10.2378 | 737.1239
07 - THERMAL & MOISTURE PROTECTION | 0 |  |  | 23140.66
072000.00 - Thermal Protection | 0 |  |  | 12123.5093
072113.00 - Board Insulation | 0 |  |  | 4662.6619
Board insulation; polystyrene; wall; 2" thick, R8.33 | 2475 | sf | 1.8839 | 4662.6619
072116.00 - Blanket Insulation | 0 |  |  | 7460.8474
Batt insulation; wall, fiberglass; unfaced; 4" thick, R11 | 4700 | sf | 1.5874 | 7460.8474
078000.00 - Fire & Smoke Protection | 0 |  |  | 11017.1507
078116.00 - Cementitious Fireproofing | 0 |  |  | 11017.1507
Fireproofing; sprayed on; 1" thick; on beams | 387.273 | sf | 3.8547 | 1492.8126
Fireproofing; sprayed on; 1" thick; on columns | 120.885 | sf | 3.5935 | 434.4059
Fireproofing; sprayed on; 1" thick; on decks; fluted surface | 3125 | sf | 2.9088 | 9089.9322
08 - OPENINGS | 0 |  |  | 54394.0613
081000.00 - Doors & Frames | 0 |  |  | 23711.9766
081213.00 - Hollow Metal Frames | 0 |  |  | 12013.317
Hollow metal frame, stock; 16 ga; 6 3/4" x 1 3/4"; 3'-0" x 7'-0" | 5 | each | 373.7642 | 1868.8211
Hollow metal frame, stock; 16 ga; 6 3/4" x 1 3/4"; 6'-0" x 7'-0" | 1 | each | 496.4525 | 496.4525
Hollow metal frame, stock; 16 ga; 4 3/4" x 1 3/4"; sidelight, complete; 1'-0" x 7'-2" | 7 | each | 641.7464 | 4492.2248
Hollow metal frame, stock; 16 ga; 5 3/4" x 1 3/4"; 3'-0" x 7'-0" | 13 | each | 362.3602 | 4710.6821
Hollow metal frame, stock; 16 ga; 5 3/4" x 1 3/4"; 6'-0" x 7'-0" | 1 | each | 445.1366 | 445.1366
081313.00 - Hollow Metal Doors | 0 |  |  | 4840.4884
Flush hollow metal door; heavy duty, unrated; 18 ga; 1 3/4" thick; 3'-0" x 7'-0" | 7 | each | 691.4983 | 4840.4884
081416.00 - Flush Wood Doors | 0 |  |  | 6858.1711
Wood door; solid core; 1 3/4" thick; birch faced; 3'-0" x 7'-0" | 15 | each | 457.2114 | 6858.1711
083000.00 - Specialty Doors & Frames | 0 |  |  | 15667.2345
083326.00 - Overhead Coiling Grilles | 0 |  |  | 5583.6562
Top coiling grille, manually operated, steel or aluminum; opening; 6' high x 16' wide | 1 | each | 5583.6562 | 5583.6562
083613.00 - Sectional Doors | 0 |  |  | 10083.5783
Sectional metal overhead door, complete; commercial grade; 12' x 12' | 3 | each | 3361.1928 | 10083.5783
085000.00 - Windows | 0 |  |  | 1227.8745
085123.00 - Steel Windows | 0 |  |  | 1227.8745
Steel window, primed; industrial; fixed sash | 18 | sf | 68.2153 | 1227.8745
087000.00 - Hardware | 0 |  |  | 13786.9757
087100.00 - Door Hardware | 0 |  |  | 13786.9757
Hinges; 4" x 4" butts, steel, standard | 33 | pair | 35.3509 | 1166.5806
Latchset, heavy duty; cylindrical | 1 | each | 291.3259 | 291.3259
Latchset, heavy duty; mortise | 1 | each | 341.8207 | 341.8207
Lockset, heavy duty; cylindrical | 14 | each | 422.4648 | 5914.5066
Mortise locks and latchsets, chrome; entry lockset | 6 | each | 458.7543 | 2752.5258
Door closer; surface mounted, traditional type, parallel arm; heavy duty | 7 | each | 474.3166 | 3320.2161
09 - FINISHES | 0 |  |  | 118093.9236
092000.00 - Plaster & Gypsum Board | 0 |  |  | 53460.5688
092213.00 - Metal Furring | 0 |  |  | 7978.921
Metal framing; furring; on walls; 7/8" channel; 16" o.c. | 1987.5 | sf | 4.0146 | 7978.921
092216.00 - Non-Structural Metal Framing | 0 |  |  | 14822.0622
Metal framing; studs, non-load bearing, galvanized; 3 5/8"; 20 ga; 16" o.c. | 4700 | sf | 3.1536 | 14822.0622
092423.00 - Cement Stucco | 0 |  |  | 695.5124
Scratch coat; for ceramic tile | 46.667 | sy | 14.9037 | 695.5124
092900.00 - Gypsum Board | 0 |  |  | 29964.0732
Drywall; plasterboard; 5/8"; nailed or screwed to walls | 10937.5 | sf | 1.7737 | 19400.2696
Drywall; add for fire resistant | 10487.5 | sf | 0.13684 | 1435.1336
Drywall; add for water resistant | 450 | sf | 0.21667 | 97.5001
Drywall; add for taping and finishing joints; average | 10937.5 | sf | 0.82571 | 9031.1698
093000.00 - Tiling | 0 |  |  | 13497.0297
093013.00 - Ceramic Tiling | 0 |  |  | 13497.0297
Tile; glazed ceramic wall; 4 1/4" x 4 1/4"; average | 420 | sf | 13.7409 | 5771.1643
Tile; glazed ceramic base; 4 1/4" high; average | 105 | lf | 20.2692 | 2128.2627
Tile; unglazed ceramic flooring; portland cement bed, cushion edge, face mounted; 2" x 2" | 275 | sf | 20.3549 | 5597.6027
095000.00 - Ceilings | 0 |  |  | 20679.3346
095113.00 - Acoustical Panel Ceilings | 0 |  |  | 12142.0058
Acoustical panels; mineral fiber; 3/4" thick; 2' x 2' | 2920 | sf | 4.1582 | 12142.0058
095323.00 - Metal Acoustical Ceiling Suspension Assemblies | 0 |  |  | 8537.3288
Ceiling suspension system; T-bar; 2' x 2' | 2920 | sf | 2.9237 | 8537.3288
096000.00 - Flooring | 0 |  |  | 25860.9367
096513.00 - Resilient Base & Accessories | 0 |  |  | 3848.9862
Resilient wall base, vinyl; group 1; 4" high | 690 | lf | 5.5782 | 3848.9862
096519.00 - Resilient Tile Flooring | 0 |  |  | 1495.7205
Resilient flooring; solid vinyl tile, 1/8" thick, 12" x 12"; solid colors | 140 | sf | 10.6837 | 1495.7205
096813.00 - Tile Carpeting | 0 |  |  | 20516.23
Carpet; tile; foam backed; average | 2560 | sf | 8.0142 | 20516.23
099000.00 - Painting & Coating | 0 |  |  | 4596.0539
099123.00 - Interior Painting | 0 |  |  | 4596.0539
Paint ceilings; spray; first coat; average | 20 | sf | 0.4282 | 8.564
Paint ceilings; spray; second coat; average | 20 | sf | 0.37232 | 7.4465
Paint walls; spray; first coat; average | 6735 | sf | 0.34923 | 2352.0911
Paint walls; spray; second coat; average | 6735 | sf | 0.3308 | 2227.9523
10 - SPECIALTIES | 0 |  |  | 7476.1852
102000.00 - Interior Specialties | 0 |  |  | 7476.1852
102113.13 - Metal Toilet Compartments | 0 |  |  | 6909.8291
Toilet partition; metal; floor mounted | 2 | each | 1182.403 | 2364.806
Toilet partition; wheelchair accessible; painted metal; floor mounted | 2 | each | 1638.544 | 3277.088
Toilet partition; urinal screen; painted metal; floor mounted | 2 | each | 633.9676 | 1267.9351
102813.00 - Toilet Accessories | 0 |  |  | 566.3561
Grab bar, wall mounted; 1 1/2" dia; stainless steel; 36" long | 2 | each | 135.8502 | 271.7004
Grab bar, wall mounted; 1 1/2" dia; stainless steel; 42" long | 2 | each | 147.3278 | 294.6557
13 - SPECIAL CONSTRUCTION | 0 |  |  | 401952.2568
133000.00 - Special Structures | 0 |  |  | 401952.2568
133419.00 - Metal Building Systems | 0 |  |  | 401952.2568
Pre-engineered metal building; 100' x 150'; 25' eave height | 14060 | sf | 28.5884 | 401952.2568
21 - FIRE SUPPRESSION | 0 |  |  | 79824.6746
210000.00 - Fire Suppression - General | 0 |  |  | 79824.6746
210000.01 - Fire Suppression - Subcontractors | 0 |  |  | 79824.6746
Fire Suppression Quote | 17500 | gsf | 4.5614 | 79824.6746
22 - PLUMBING | 0 |  |  | 149671.2649
220000.00 - Plumbing - General | 0 |  |  | 149671.2649
220000.01 - Plumbing - Subcontractors | 0 |  |  | 149671.2649
Plumbing Quote | 17500 | gsf | 8.5526 | 149671.2649
23 - HVAC | 0 |  |  | 209539.7708
230000.00 - HVAC - General | 0 |  |  | 209539.7708
230000.01 - HVAC - Subcontractors | 0 |  |  | 209539.7708
HVAC Quote | 17500 | gsf | 11.9737 | 209539.7708
26 - ELECTRICAL | 0 |  |  | 239474.0238
260000.00 - Electrical - General | 0 |  |  | 239474.0238
260000.01 - Electrical - Subcontractors | 0 |  |  | 239474.0238
Electrical Power & Lighting Quote | 17500 | gsf | 13.6842 | 239474.0238
1720428.7