## Connectivity Audit (hidden)
Current SQL Instance Name | DESKTOP-BAV06SS\SAGE_ESTIMATING
Current Estimate Catalog Name | Estimates_ExportTesting
Current Estimate ID | 47
Current Estimate Name | Sample Estimate - Warehouse Project
Current Estimate Branch
Current Estimate User | DESKTOP-BAV06SS\MICROSOFT
Other Open Estimates by User | Name | ID | Branch
None

## Estimate Validation (hidden)
Validation Check | Status
Verify that the first five (5) rows in the totals page are category subtotals | Passed
Verify that all totals page addons have valid distribution criteria | Passed
Verify that recalculated addon amounts match stored application values | Passed

## Addon Exception Audit (hidden)
The following addon(s) cannot be allocated for the reason(s) indicated and therefore the requested addon distribution cannot be generated. Please return to the estimate, adjust the addons as necessary to remedy the exception(s) listed below and run the export again. |  |  | No Categories Selected | Invalid Range Selected
Row | Description | Amount

## Addon Validation (hidden)
Position | Description | Current Dollar Amounts |  | Current Difference
|  | Calculated within Export Routine | Stored in Sage Estimating | Amount | %
1 | Labor | 681581.46 | 681581.46 | 0 | 0%
2 | Material | 740574.07 | 740574.07 | 0 | 0%
3 | Subcontract | 0 | 0 | 0 | 0%
4 | Equipment | 86525.96 | 86525.96 | 0 | 0%
5 | Other | 0 | 0 | 0 | 0%
6 | Trade Cost Subtotal | 1508681.49 | 1508681.49
7 | General Conditions | 105607.7 | 105607.7 | 0 | 0%
8 | Construction Cost Subtotal | 1614289.19 | 1614289.19
9 | Fee | 80714.46 | 80714.46 | 0 | 0%
10 | Insurance | 25425.05 | 25425.05 | 0 | 0%

## Estimate Detail
Description | Quantity | Unit | Cost/Unit | Amount
A - SUBSTRUCTURE | 14060 | sf | 20.5036 | 288280.73
A10 - Foundations | 0 |  |  | 288280.73
A1010 - Standard Foundations | 151.05 | cy | 1033.824 | 156159.11
Column forms; square, job built; 36" x 36"; 4 uses | 1055.205 | sf | 15.0829 | 15915.6
Footing forms, job built; continuous wall; 4 uses | 1170 | sf | 10.2087 | 11944.21
Footing forms, job built; column footing, spread; 4 uses | 582 | sf | 12.0264 | 6999.34
Wall forms, job built; exterior; up to 8' high; 4 uses | 5850 | sf | 10.6087 | 62061.07
Keyway form (5 uses); 2" x 4" | 585 | lf | 5.5475 | 3245.3
Chamfer strip; wood; 3/4" wide | 444.636 | lf | 2.7078 | 1203.98
Wall rebar; concrete; #3 - #4 | 0.86 | ton | 3263.3953 | 2806.52
Column rebar; #3 - #4 | 0.272 | ton | 4651.8015 | 1265.29
Column rebar; #5 - #6 | 0.383 | ton | 3809.7389 | 1459.13
Footing rebar; grade 60; #3 - #4 | 1.235 | ton | 3494.8097 | 4316.09
Footing rebar; grade 60; #5 - #6 | 0.986 | ton | 3038.3976 | 2995.86
Column concrete; 2500 or 3000 psi; by pump | 22.614 | cy | 269.12 | 6085.88
Continuous footing concrete; 2500 or 3000 psi; by chute | 28.889 | cy | 171.7553 | 4961.84
Spread footing concrete; 2500 or 3000 psi; under 5 cy; by chute | 27.333 | cy | 171.755 | 4694.58
Wall concrete; 2500 or 3000 psi; to 4'; by chute | 72.222 | cy | 167.2187 | 12076.87
Wall finish; break ties and patch holes | 2925 | sf | 1.9053 | 5573.04
Grouting for bases; non-shrink; non-metallic; 2" deep | 126.333 | sf | 35.3488 | 4465.72
Board insulation; polystyrene; wall; 2" thick, R8.33 | 2475 | sf | 1.652 | 4088.79
A1030 - Slab on Grade | 13938 | sf | 9.4792 | 132121.62
Slab forms, job built; edge; 6" high; 4 uses | 99 | lf | 9.58 | 948.42
Slab forms, job built; edge; 12" high; 4 uses | 48 | lf | 10.2088 | 490.02
Expansion joint, premolded, in slabs; polyethylene foam; 1/2" x 6" | 550 | lf | 3.7688 | 2072.82
Vapor barrier; 6 mil polyethylene | 13673 | sf | 0.32708 | 4472.13
Gravel porous fill, under floor slab, 3/4" stone | 258.112 | cy | 145.7886 | 37629.8
Slab rebar; #3 - #4 | 6.208 | ton | 3494.8003 | 21695.72
Slab on grade concrete; 3500 or 4000 psi; by chute | 259.89 | cy | 173.8164 | 45173.15
Floor finish; screed | 13938 | sf | 1.1908 | 16597.65
Concrete curing; sprayed membrane; slabs | 13938 | sf | 0.21825 | 3041.91
B - SHELL | 17500 | gsf | 6.6581 | 116517.07
B10 - Superstructure | 0 |  |  | 82562.43
B1010 - Floor Construction | 3125 | sf | 26.42 | 82562.43
Slab wire mesh; standard; 6" x 6"; W1.4 x W1.4 | 3125 | sf | 0.68594 | 2143.56
Elevated slab concrete; 2500 or 3000 psi; by pump | 40.992 | cy | 199.5938 | 8181.75
Floor finish; screed | 3125 | sf | 1.1908 | 3721.31
Concrete curing; sprayed membrane; slabs | 3125 | sf | 0.21825 | 682.02
Structural steel; beams and girders, A-36; bolted | 1.848 | ton | 4203.5173 | 7768.1
Structural steel; tube; greater than 6" wide rectangular; heavy sections | 1.412 | ton | 5317.3371 | 7508.08
Metal joist; K series | 9.762 | ton | 2834.2481 | 27667.93
Metal deck; open type, galvanized; 1 1/2" deep; 20 ga | 3125 | sf | 4.8731 | 15228.5
Fireproofing; sprayed on; 1" thick; on beams | 387.273 | sf | 3.3803 | 1309.08
Fireproofing; sprayed on; 1" thick; on columns | 120.885 | sf | 3.1513 | 380.94
Fireproofing; sprayed on; 1" thick; on decks; fluted surface | 3125 | sf | 2.5508 | 7971.16
B20 - Exterior Enclosure | 0 |  |  | 33954.64
B2010 - Exterior Walls | 1987.5 | sf | 5.92 | 11765.92
Metal framing; furring; on walls; 7/8" channel; 16" o.c. | 1987.5 | sf | 3.5204 | 6996.89
Drywall; plasterboard; 5/8"; nailed or screwed to walls | 1987.5 | sf | 1.5554 | 3091.42
Drywall; add for fire resistant | 1987.5 | sf | 0.12 | 238.5
Drywall; add for taping and finishing joints; average | 1987.5 | sf | 0.72408 | 1439.11
B2020 - Exterior Windows | 18 | sf | 59.8194 | 1076.75
Steel window, primed; industrial; fixed sash | 18 | sf | 59.8194 | 1076.75
B2030 - Exterior Doors | 9 | each | 2345.7744 | 21111.97
Hollow metal frame, stock; 16 ga; 6 3/4" x 1 3/4"; 3'-0" x 7'-0" | 5 | each | 327.762 | 1638.81
Hollow metal frame, stock; 16 ga; 6 3/4" x 1 3/4"; 6'-0" x 7'-0" | 1 | each | 435.35 | 435.35
Flush hollow metal door; heavy duty, unrated; 18 ga; 1 3/4" thick; 3'-0" x 7'-0" | 7 | each | 606.39 | 4244.73
Sectional metal overhead door, complete; commercial grade; 12' x 12' | 3 | each | 2947.5033 | 8842.51
Hinges; 4" x 4" butts, steel, standard | 10.5 | pair | 31 | 325.5
Latchset, heavy duty; mortise | 1 | each | 299.75 | 299.75
Mortise locks and latchsets, chrome; entry lockset | 6 | each | 402.2917 | 2413.75
Door closer; surface mounted, traditional type, parallel arm; heavy duty | 7 | each | 415.9386 | 2911.57
C - INTERIORS | 17500 | gsf | 8.9373 | 156402.98
C10 - Interior Construction | 0 |  |  | 73760.54
C1010 - Partitions | 4475 | sf | 9.3171 | 41693.89
Blocking; steel construction; walls; 2" x 6" | 72 | lf | 8.9778 | 646.4
Batt insulation; wall, fiberglass; unfaced; 4" thick, R11 | 4700 | sf | 1.392 | 6542.58
Metal framing; studs, non-load bearing, galvanized; 3 5/8"; 20 ga; 16" o.c. | 4700 | sf | 2.7655 | 12997.79
Drywall; plasterboard; 5/8"; nailed or screwed to walls | 8950 | sf | 1.5554 | 13921.1
Drywall; add for fire resistant | 8500 | sf | 0.12 | 1020
Drywall; add for water resistant | 450 | sf | 0.19 | 85.5
Drywall; add for taping and finishing joints; average | 8950 | sf | 0.72408 | 6480.52
C1020 - Interior Doors | 15 | each | 1700.708 | 25510.62
Hollow metal frame, stock; 16 ga; 4 3/4" x 1 3/4"; sidelight, complete; 1'-0" x 7'-2" | 7 | each | 562.7614 | 3939.33
Hollow metal frame, stock; 16 ga; 5 3/4" x 1 3/4"; 3'-0" x 7'-0" | 13 | each | 317.7615 | 4130.9
Hollow metal frame, stock; 16 ga; 5 3/4" x 1 3/4"; 6'-0" x 7'-0" | 1 | each | 390.35 | 390.35
Wood door; solid core; 1 3/4" thick; birch faced; 3'-0" x 7'-0" | 15 | each | 400.9387 | 6014.08
Top coiling grille, manually operated, steel or aluminum; opening; 6' high x 16' wide | 1 | each | 4896.43 | 4896.43
Hinges; 4" x 4" butts, steel, standard | 22.5 | pair | 31 | 697.5
Latchset, heavy duty; cylindrical | 1 | each | 255.47 | 255.47
Lockset, heavy duty; cylindrical | 14 | each | 370.4686 | 5186.56
C1030 - Fittings Specialties | 10 | each | 655.603 | 6556.03
Toilet partition; metal; floor mounted | 2 | each | 1036.875 | 2073.75
Toilet partition; wheelchair accessible; painted metal; floor mounted | 2 | each | 1436.875 | 2873.75
Toilet partition; urinal screen; painted metal; floor mounted | 2 | each | 555.94 | 1111.88
Grab bar, wall mounted; 1 1/2" dia; stainless steel; 36" long | 2 | each | 119.13 | 238.26
Grab bar, wall mounted; 1 1/2" dia; stainless steel; 42" long | 2 | each | 129.195 | 258.39
C20 - Stairs | 0 |  |  | 25354.13
C2010 - Stair Construction | 125 | sf | 202.833 | 25354.13
Metal stair; pan type with cement fill, steel; per riser; tread; 4' wide | 21 | each | 413.5652 | 8684.87
Metal stair; pan type with cement fill, steel; per riser; landing | 41 | sf | 130.5522 | 5352.64
Railing, pipe; 1 1/2" dia, welded steel; 3-rail; galvanized | 120 | lf | 81.5522 | 9786.26
Railing, pipe; 1 1/2" dia, welded steel; wall mounted, single rail; galvanized | 35 | lf | 43.7246 | 1530.36
C30 - Interior Finishes | 0 |  |  | 57288.31
C3010 - Wall Finishes | 7155 | sf | 1.6147 | 11553.43
Scratch coat; for ceramic tile | 46.667 | sy | 13.0694 | 609.91
Tile; glazed ceramic wall; 4 1/4" x 4 1/4"; average | 420 | sf | 12.0497 | 5060.86
Tile; glazed ceramic base; 4 1/4" high; average | 105 | lf | 17.7745 | 1866.32
Paint walls; spray; first coat; average | 6735 | sf | 0.30625 | 2062.6
Paint walls; spray; second coat; average | 6735 | sf | 0.29009 | 1953.74
C3020 - Floor Finishes | 2975 | sf | 9.2728 | 27586.68
Tile; unglazed ceramic flooring; portland cement bed, cushion edge, face mounted; 2" x 2" | 275 | sf | 17.8497 | 4908.66
Resilient wall base, vinyl; group 1; 4" high | 690 | lf | 4.8917 | 3375.26
Resilient flooring; solid vinyl tile, 1/8" thick, 12" x 12"; solid colors | 140 | sf | 9.3688 | 1311.63
Carpet; tile; foam backed; average | 2560 | sf | 7.0278 | 17991.13
C3030 - Ceiling Finishes | 2940 | sf | 6.1729 | 18148.2
Acoustical panels; mineral fiber; 3/4" thick; 2' x 2' | 2920 | sf | 3.6464 | 10647.59
Ceiling suspension system; T-bar; 2' x 2' | 2920 | sf | 2.5639 | 7486.57
Paint ceilings; spray; first coat; average | 20 | sf | 0.3755 | 7.51
Paint ceilings; spray; second coat; average | 20 | sf | 0.3265 | 6.53
D - SERVICES | 17500 | gsf | 34 | 595000
D20 - Plumbing | 0 |  |  | 131250
D2020 - Domestic Water Distribution | 17500 | gsf | 7.5 | 131250
Plumbing Quote | 17500 | gsf | 7.5 | 131250
D30 - HVAC | 0 |  |  | 183750
D3040 - HVAC Distribution Systems | 17500 | gsf | 10.5 | 183750
HVAC Quote | 17500 | gsf | 10.5 | 183750
D40 - Fire Protection Systems | 0 |  |  | 70000
D4010 - Sprinkler Systems | 17500 | gsf | 4 | 70000
Fire Suppression Quote | 17500 | gsf | 4 | 70000
D50 - Electrical Systems | 0 |  |  | 210000
D5010 - Electrical Service & Distribution | 17500 | gsf | 12 | 210000
Electrical Power & Lighting Quote | 17500 | gsf | 12 | 210000
F - SPECIAL CONSTRUCTION & DEMOLITION | 14060 | sf | 25.0698 | 352480.71
F10 - Special Construction | 0 |  |  | 352480.71
F1010 - Special Structures | 14060 | sf | 25.0698 | 352480.71
Pre-engineered metal building; 100' x 150'; 25' eave height | 14060 | sf | 25.0698 | 352480.71
Trade Cost Subtotal |  |  |  | 1508681.49
General Conditions |  |  |  | 105607.7
Construction Cost Subtotal |  |  |  | 1614289.19
Fee |  |  |  | 80714.46
Insurance |  |  |  | 25425.05
1720428.7