## Connectivity Audit (hidden)
Current SQL Instance Name | DESKTOP-BAV06SS\SAGE_ESTIMATING
Current Estimate Catalog Name | Estimates_ExportTesting
Current Estimate ID | 47
Current Estimate Name | Sample Estimate - Warehouse Project
Current Estimate Branch
Current Estimate User | DESKTOP-BAV06SS\MICROSOFT
Other Open Estimates by User | Name | ID | Branch
None

## Estimate Validation (hidden)
Validation Check | Status
Verify that the first five (5) rows in the totals page are category subtotals | Passed
Verify that all totals page addons have valid distribution criteria | Passed
Verify that recalculated addon amounts match stored application values | Passed

## Addon Exception Audit (hidden)
The following addon(s) cannot be allocated for the reason(s) indicated and therefore the requested addon distribution cannot be generated. Please return to the estimate, adjust the addons as necessary to remedy the exception(s) listed below and run the export again. |  |  | No Categories Selected | Invalid Range Selected
Row | Description | Amount

## Addon Validation (hidden)
Position | Description | Current Dollar Amounts |  | Current Difference
|  | Calculated within Export Routine | Stored in Sage Estimating | Amount | %
1 | Labor | 681581.46 | 681581.46 | 0 | 0%
2 | Material | 740574.07 | 740574.07 | 0 | 0%
3 | Subcontract | 0 | 0 | 0 | 0%
4 | Equipment | 86525.96 | 86525.96 | 0 | 0%
5 | Other | 0 | 0 | 0 | 0%
6 | Trade Cost Subtotal | 1508681.49 | 1508681.49
7 | General Conditions | 105607.7 | 105607.7 | 0 | 0%
8 | Construction Cost Subtotal | 1614289.19 | 1614289.19
9 | Fee | 80714.46 | 80714.46 | 0 | 0%
10 | Insurance | 25425.05 | 25425.05 | 0 | 0%

## Estimate Detail
Description | Quantity | Unit | Cost/Unit | Amount
0331 - Structural Concrete | 0 |  |  | 345537.4908
031000.00 - Concrete Forming & Accessories | 0 |  |  | 167612.0771
Column forms; square, job built; 36" x 36"; 4 uses | 1055.205 | sf | 17.1999 | 18149.3942
Footing forms, job built; continuous wall; 4 uses | 1170 | sf | 11.6415 | 13620.6097
Footing forms, job built; column footing, spread; 4 uses | 582 | sf | 13.7143 | 7981.7148
Slab forms, job built; edge; 6" high; 4 uses | 99 | lf | 10.9246 | 1081.5331
Slab forms, job built; edge; 12" high; 4 uses | 48 | lf | 11.6416 | 558.7955
Wall forms, job built; exterior; up to 8' high; 4 uses | 5850 | sf | 12.0977 | 70771.496
Keyway form (5 uses); 2" x 4" | 585 | lf | 6.3261 | 3700.7859
Chamfer strip; wood; 3/4" wide | 444.636 | lf | 3.0878 | 1372.9616
Expansion joint, premolded, in slabs; polyethylene foam; 1/2" x 6" | 550 | lf | 4.2977 | 2363.7455
Vapor barrier; 6 mil polyethylene | 13673 | sf | 0.37298 | 5099.8046
Gravel porous fill, under floor slab, 3/4" stone | 258.112 | cy | 166.2505 | 42911.2363
032000.00 - Concrete Reinforcing | 0 |  |  | 41830.6041
Wall rebar; concrete; #3 - #4 | 0.86 | ton | 3721.421 | 3200.4221
Column rebar; #3 - #4 | 0.272 | ton | 5304.6934 | 1442.8766
Column rebar; #5 - #6 | 0.383 | ton | 4344.4453 | 1663.9225
Footing rebar; grade 60; #3 - #4 | 1.235 | ton | 3985.315 | 4921.864
Footing rebar; grade 60; #5 - #6 | 0.986 | ton | 3464.8442 | 3416.3364
Slab rebar; #3 - #4 | 6.208 | ton | 3985.3042 | 24740.7684
Slab wire mesh; standard; 6" x 6"; W1.4 x W1.4 | 3125 | sf | 0.78221 | 2444.414
033000.00 - Cast-in-Place Concrete | 0 |  |  | 126339.6528
Column concrete; 2500 or 3000 psi; by pump | 22.614 | cy | 306.8917 | 6940.0484
Elevated slab concrete; 2500 or 3000 psi; by pump | 40.992 | cy | 227.6073 | 9330.079
Continuous footing concrete; 2500 or 3000 psi; by chute | 28.889 | cy | 195.8616 | 5658.2466
Spread footing concrete; 2500 or 3000 psi; under 5 cy; by chute | 27.333 | cy | 195.8613 | 5353.476
Slab on grade concrete; 3500 or 4000 psi; by chute | 259.89 | cy | 198.212 | 51513.3143
Wall concrete; 2500 or 3000 psi; to 4'; by chute | 72.222 | cy | 190.6883 | 13771.8888
Floor finish; screed | 17063 | sf | 1.358 | 23170.7767
Wall finish; break ties and patch holes | 2925 | sf | 2.1727 | 6355.2301
Concrete curing; sprayed membrane; slabs | 17063 | sf | 0.24888 | 4246.5929
036000.00 - Grouting | 0 |  |  | 5092.4949
Grouting for bases; non-shrink; non-metallic; 2" deep | 126.333 | sf | 40.3101 | 5092.4949
072000.00 - Thermal Protection | 0 |  |  | 4662.6619
Board insulation; polystyrene; wall; 2" thick, R8.33 | 2475 | sf | 1.8839 | 4662.6619
0510 - Structural Steel | 0 |  |  | 66337.2809
051000.00 - Structural Metal Framing | 0 |  |  | 17420.23
Structural steel; beams and girders, A-36; bolted | 1.848 | ton | 4793.4915 | 8858.3722
Structural steel; tube; greater than 6" wide rectangular; heavy sections | 1.412 | ton | 6063.6386 | 8561.8577
052000.00 - Metal Joists | 0 |  |  | 31551.193
Metal joist; K series | 9.762 | ton | 3232.0419 | 31551.193
053000.00 - Metal Decking | 0 |  |  | 17365.858
Metal deck; open type, galvanized; 1 1/2" deep; 20 ga | 3125 | sf | 5.5571 | 17365.858
0550 - Miscellaneous Metals | 0 |  |  | 28912.6454
055000.00 - Metal Fabrications | 0 |  |  | 28912.6454
Metal stair; pan type with cement fill, steel; per riser; tread; 4' wide | 21 | each | 471.6102 | 9903.8132
Metal stair; pan type with cement fill, steel; per riser; landing | 41 | sf | 148.8755 | 6103.8964
Railing, pipe; 1 1/2" dia, welded steel; 3-rail; galvanized | 120 | lf | 92.9982 | 11159.786
Railing, pipe; 1 1/2" dia, welded steel; wall mounted, single rail; galvanized | 35 | lf | 49.8614 | 1745.1498
0780 - Fire & Smoke Protection | 0 |  |  | 11017.1507
078000.00 - Fire & Smoke Protection | 0 |  |  | 11017.1507
Fireproofing; sprayed on; 1" thick; on beams | 387.273 | sf | 3.8547 | 1492.8126
Fireproofing; sprayed on; 1" thick; on columns | 120.885 | sf | 3.5935 | 434.4059
Fireproofing; sprayed on; 1" thick; on decks; fluted surface | 3125 | sf | 2.9088 | 9089.9322
0810 - Doors, Frames & Hardware | 0 |  |  | 38726.8268
081000.00 - Doors & Frames | 0 |  |  | 23711.9766
Hollow metal frame, stock; 16 ga; 6 3/4" x 1 3/4"; 3'-0" x 7'-0" | 5 | each | 373.7642 | 1868.8211
Hollow metal frame, stock; 16 ga; 6 3/4" x 1 3/4"; 6'-0" x 7'-0" | 1 | each | 496.4525 | 496.4525
Hollow metal frame, stock; 16 ga; 4 3/4" x 1 3/4"; sidelight, complete; 1'-0" x 7'-2" | 7 | each | 641.7464 | 4492.2248
Hollow metal frame, stock; 16 ga; 5 3/4" x 1 3/4"; 3'-0" x 7'-0" | 13 | each | 362.3602 | 4710.6821
Hollow metal frame, stock; 16 ga; 5 3/4" x 1 3/4"; 6'-0" x 7'-0" | 1 | each | 445.1366 | 445.1366
Flush hollow metal door; heavy duty, unrated; 18 ga; 1 3/4" thick; 3'-0" x 7'-0" | 7 | each | 691.4983 | 4840.4884
Wood door; solid core; 1 3/4" thick; birch faced; 3'-0" x 7'-0" | 15 | each | 457.2114 | 6858.1711
085000.00 - Windows | 0 |  |  | 1227.8745
Steel window, primed; industrial; fixed sash | 18 | sf | 68.2153 | 1227.8745
087000.00 - Hardware | 0 |  |  | 13786.9757
Hinges; 4" x 4" butts, steel, standard | 33 | pair | 35.3509 | 1166.5806
Latchset, heavy duty; cylindrical | 1 | each | 291.3259 | 291.3259
Latchset, heavy duty; mortise | 1 | each | 341.8207 | 341.8207
Lockset, heavy duty; cylindrical | 14 | each | 422.4648 | 5914.5066
Mortise locks and latchsets, chrome; entry lockset | 6 | each | 458.7543 | 2752.5258
Door closer; surface mounted, traditional type, parallel arm; heavy duty | 7 | each | 474.3166 | 3320.2161
0830 - Specialty Doors & Frames | 0 |  |  | 15667.2345
083000.00 - Specialty Doors & Frames | 0 |  |  | 15667.2345
Top coiling grille, manually operated, steel or aluminum; opening; 6' high x 16' wide | 1 | each | 5583.6562 | 5583.6562
Sectional metal overhead door, complete; commercial grade; 12' x 12' | 3 | each | 3361.1928 | 10083.5783
0920 - Drywall, Carpentry & Acoustical | 0 |  |  | 81642.3623
061000.00 - Rough Carpentry | 0 |  |  | 737.1239
Blocking; steel construction; walls; 2" x 6" | 72 | lf | 10.2378 | 737.1239
072000.00 - Thermal Protection | 0 |  |  | 7460.8474
Batt insulation; wall, fiberglass; unfaced; 4" thick, R11 | 4700 | sf | 1.5874 | 7460.8474
092000.00 - Plaster & Gypsum Board | 0 |  |  | 52765.0564
Metal framing; furring; on walls; 7/8" channel; 16" o.c. | 1987.5 | sf | 4.0146 | 7978.921
Metal framing; studs, non-load bearing, galvanized; 3 5/8"; 20 ga; 16" o.c. | 4700 | sf | 3.1536 | 14822.0622
Drywall; plasterboard; 5/8"; nailed or screwed to walls | 10937.5 | sf | 1.7737 | 19400.2696
Drywall; add for fire resistant | 10487.5 | sf | 0.13684 | 1435.1336
Drywall; add for water resistant | 450 | sf | 0.21667 | 97.5001
Drywall; add for taping and finishing joints; average | 10937.5 | sf | 0.82571 | 9031.1698
095000.00 - Ceilings | 0 |  |  | 20679.3346
Acoustical panels; mineral fiber; 3/4" thick; 2' x 2' | 2920 | sf | 4.1582 | 12142.0058
Ceiling suspension system; T-bar; 2' x 2' | 2920 | sf | 2.9237 | 8537.3288
0930 - Ceramic Tile | 0 |  |  | 14192.5421
092000.00 - Plaster & Gypsum Board | 0 |  |  | 695.5124
Scratch coat; for ceramic tile | 46.667 | sy | 14.9037 | 695.5124
093000.00 - Tiling | 0 |  |  | 13497.0297
Tile; glazed ceramic wall; 4 1/4" x 4 1/4"; average | 420 | sf | 13.7409 | 5771.1643
Tile; glazed ceramic base; 4 1/4" high; average | 105 | lf | 20.2692 | 2128.2627
Tile; unglazed ceramic flooring; portland cement bed, cushion edge, face mounted; 2" x 2" | 275 | sf | 20.3549 | 5597.6027
0960 - Flooring | 0 |  |  | 25860.9367
096000.00 - Flooring | 0 |  |  | 25860.9367
Resilient wall base, vinyl; group 1; 4" high | 690 | lf | 5.5782 | 3848.9862
Resilient flooring; solid vinyl tile, 1/8" thick, 12" x 12"; solid colors | 140 | sf | 10.6837 | 1495.7205
Carpet; tile; foam backed; average | 2560 | sf | 8.0142 | 20516.23
0990 - Painting & Coating | 0 |  |  | 4596.0539
099000.00 - Painting & Coating | 0 |  |  | 4596.0539
Paint ceilings; spray; first coat; average | 20 | sf | 0.4282 | 8.564
Paint ceilings; spray; second coat; average | 20 | sf | 0.37232 | 7.4465
Paint walls; spray; first coat; average | 6735 | sf | 0.34923 | 2352.0911
Paint walls; spray; second coat; average | 6735 | sf | 0.3308 | 2227.9523
1028 - Toilet Partitions & Accessories | 0 |  |  | 7476.1852
102000.00 - Interior Specialties | 0 |  |  | 7476.1852
Toilet partition; metal; floor mounted | 2 | each | 1182.403 | 2364.806
Toilet partition; wheelchair accessible; painted metal; floor mounted | 2 | each | 1638.544 | 3277.088
Toilet partition; urinal screen; painted metal; floor mounted | 2 | each | 633.9676 | 1267.9351
Grab bar, wall mounted; 1 1/2" dia; stainless steel; 36" long | 2 | each | 135.8502 | 271.7004
Grab bar, wall mounted; 1 1/2" dia; stainless steel; 42" long | 2 | each | 147.3278 | 294.6557
1334 - Fabricated Engineered Structures | 0 |  |  | 401952.2568
133000.00 - Special Structures | 0 |  |  | 401952.2568
Pre-engineered metal building; 100' x 150'; 25' eave height | 14060 | sf | 28.5884 | 401952.2568
2100 - Fire Suppression | 0 |  |  | 79824.6746
210000.00 - Fire Suppression - General | 0 |  |  | 79824.6746
Fire Suppression Quote | 17500 | gsf | 4.5614 | 79824.6746
2200 - Plumbing | 0 |  |  | 149671.2649
220000.00 - Plumbing - General | 0 |  |  | 149671.2649
Plumbing Quote | 17500 | gsf | 8.5526 | 149671.2649
2300 - HVAC | 0 |  |  | 209539.7708
230000.00 - HVAC - General | 0 |  |  | 209539.7708
HVAC Quote | 17500 | gsf | 11.9737 | 209539.7708
2600 - Electrical | 0 |  |  | 239474.0238
260000.00 - Electrical - General | 0 |  |  | 239474.0238
Electrical Power & Lighting Quote | 17500 | gsf | 13.6842 | 239474.0238
1720428.7