## Connectivity Audit (hidden)
Current SQL Instance Name | DESKTOP-BAV06SS\SAGE_ESTIMATING
Current Estimate Catalog Name | Estimates_ExportTesting
Current Estimate ID | 47
Current Estimate Name | Sample Estimate - Warehouse Project
Current Estimate Branch
Current Estimate User | DESKTOP-BAV06SS\MICROSOFT
Other Open Estimates by User | Name | ID | Branch
None

## Estimate Validation (hidden)
Validation Check | Status
Verify that the first five (5) rows in the totals page are category subtotals | Passed
Verify that all totals page addons have valid distribution criteria | Passed
Verify that recalculated addon amounts match stored application values | Passed

## Addon Exception Audit (hidden)
The following addon(s) cannot be allocated for the reason(s) indicated and therefore the requested addon distribution cannot be generated. Please return to the estimate, adjust the addons as necessary to remedy the exception(s) listed below and run the export again. |  |  | No Categories Selected | Invalid Range Selected
Row | Description | Amount

## Addon Validation (hidden)
Position | Description | Current Dollar Amounts |  | Current Difference
|  | Calculated within Export Routine | Stored in Sage Estimating | Amount | %
1 | Labor | 681581.46 | 681581.46 | 0 | 0%
2 | Material | 740574.07 | 740574.07 | 0 | 0%
3 | Subcontract | 0 | 0 | 0 | 0%
4 | Equipment | 86525.96 | 86525.96 | 0 | 0%
5 | Other | 0 | 0 | 0 | 0%
6 | Trade Cost Subtotal | 1508681.49 | 1508681.49
7 | General Conditions | 105607.7 | 105607.7 | 0 | 0%
8 | Construction Cost Subtotal | 1614289.19 | 1614289.19
9 | Fee | 80714.46 | 80714.46 | 0 | 0%
10 | Insurance | 25425.05 | 25425.05 | 0 | 0%

## Estimate Detail
Description | Quantity | Unit | Cost/Unit | Amount
03 - CONCRETE | 0 |  |  | 298920.58
031000.00 - Concrete Forming & Accessories | 0 |  |  | 146982.69
031113.15 - Column Formwork | 0 |  |  | 15915.6
Column forms; square, job built; 36" x 36"; 4 uses | 1055.205 | sf | 15.0829 | 15915.6
031113.35 - Footing Formwork | 0 |  |  | 18943.55
Footing forms, job built; continuous wall; 4 uses | 1170 | sf | 10.2087 | 11944.21
Footing forms, job built; column footing, spread; 4 uses | 582 | sf | 12.0264 | 6999.34
031113.55 - Slab/Mat Formwork | 0 |  |  | 1438.44
Slab forms, job built; edge; 6" high; 4 uses | 99 | lf | 9.58 | 948.42
Slab forms, job built; edge; 12" high; 4 uses | 48 | lf | 10.2088 | 490.02
031113.65 - Wall Formwork | 0 |  |  | 62061.07
Wall forms, job built; exterior; up to 8' high; 4 uses | 5850 | sf | 10.6087 | 62061.07
031113.90 - Miscellaneous Formwork | 0 |  |  | 4449.28
Keyway form (5 uses); 2" x 4" | 585 | lf | 5.5475 | 3245.3
Chamfer strip; wood; 3/4" wide | 444.636 | lf | 2.7078 | 1203.98
031516.00 - Concrete Construction Joints | 0 |  |  | 2072.82
Expansion joint, premolded, in slabs; polyethylene foam; 1/2" x 6" | 550 | lf | 3.7688 | 2072.82
031550.00 - Miscellaneous Concrete Accessories | 0 |  |  | 42101.93
Vapor barrier; 6 mil polyethylene | 13673 | sf | 0.32708 | 4472.13
Gravel porous fill, under floor slab, 3/4" stone | 258.112 | cy | 145.7886 | 37629.8
032000.00 - Concrete Reinforcing | 0 |  |  | 36682.17
032111.00 - Plain Steel Reinforcement Bars | 0 |  |  | 34538.61
Wall rebar; concrete; #3 - #4 | 0.86 | ton | 3263.3953 | 2806.52
Column rebar; #3 - #4 | 0.272 | ton | 4651.8015 | 1265.29
Column rebar; #5 - #6 | 0.383 | ton | 3809.7389 | 1459.13
Footing rebar; grade 60; #3 - #4 | 1.235 | ton | 3494.8097 | 4316.09
Footing rebar; grade 60; #5 - #6 | 0.986 | ton | 3038.3976 | 2995.86
Slab rebar; #3 - #4 | 6.208 | ton | 3494.8003 | 21695.72
032211.00 - Plain Steel Welded Wire Fabric Reinforcing | 0 |  |  | 2143.56
Slab wire mesh; standard; 6" x 6"; W1.4 x W1.4 | 3125 | sf | 0.68594 | 2143.56
033000.00 - Cast-in-Place Concrete | 0 |  |  | 110790
033100.15 - Column Concrete | 0 |  |  | 6085.88
Column concrete; 2500 or 3000 psi; by pump | 22.614 | cy | 269.12 | 6085.88
033100.20 - Elevated Slab Concrete | 0 |  |  | 8181.75
Elevated slab concrete; 2500 or 3000 psi; by pump | 40.992 | cy | 199.5938 | 8181.75
033100.35 - Footing Concrete | 0 |  |  | 9656.42
Continuous footing concrete; 2500 or 3000 psi; by chute | 28.889 | cy | 171.7553 | 4961.84
Spread footing concrete; 2500 or 3000 psi; under 5 cy; by chute | 27.333 | cy | 171.755 | 4694.58
033100.55 - Slab/Mat Concrete | 0 |  |  | 45173.15
Slab on grade concrete; 3500 or 4000 psi; by chute | 259.89 | cy | 173.8164 | 45173.15
033100.65 - Wall Concrete | 0 |  |  | 12076.87
Wall concrete; 2500 or 3000 psi; to 4'; by chute | 72.222 | cy | 167.2187 | 12076.87
033529.00 - Tooled Concrete Finishing | 0 |  |  | 25892
Floor finish; screed | 17063 | sf | 1.1908 | 20318.96
Wall finish; break ties and patch holes | 2925 | sf | 1.9053 | 5573.04
033923.00 - Membrane Concrete Curing | 0 |  |  | 3723.93
Concrete curing; sprayed membrane; slabs | 17063 | sf | 0.21825 | 3723.93
036000.00 - Grouting | 0 |  |  | 4465.72
036213.00 - Non-Metallic Non-Shrink Grouting | 0 |  |  | 4465.72
Grouting for bases; non-shrink; non-metallic; 2" deep | 126.333 | sf | 35.3488 | 4465.72
05 - METALS | 0 |  |  | 83526.74
051000.00 - Structural Metal Framing | 0 |  |  | 15276.18
051223.00 - Structural Steel for Buildings | 0 |  |  | 15276.18
Structural steel; beams and girders, A-36; bolted | 1.848 | ton | 4203.5173 | 7768.1
Structural steel; tube; greater than 6" wide rectangular; heavy sections | 1.412 | ton | 5317.3371 | 7508.08
052000.00 - Metal Joists | 0 |  |  | 27667.93
052119.00 - Open Web Steel Joist Framing | 0 |  |  | 27667.93
Metal joist; K series | 9.762 | ton | 2834.2481 | 27667.93
053000.00 - Metal Decking | 0 |  |  | 15228.5
053113.00 - Steel Floor Decking | 0 |  |  | 15228.5
Metal deck; open type, galvanized; 1 1/2" deep; 20 ga | 3125 | sf | 4.8731 | 15228.5
055000.00 - Metal Fabrications | 0 |  |  | 25354.13
055113.00 - Metal Pan Stairs | 0 |  |  | 14037.51
Metal stair; pan type with cement fill, steel; per riser; tread; 4' wide | 21 | each | 413.5652 | 8684.87
Metal stair; pan type with cement fill, steel; per riser; landing | 41 | sf | 130.5522 | 5352.64
055213.00 - Pipe & Tube Railings | 0 |  |  | 11316.62
Railing, pipe; 1 1/2" dia, welded steel; 3-rail; galvanized | 120 | lf | 81.5522 | 9786.26
Railing, pipe; 1 1/2" dia, welded steel; wall mounted, single rail; galvanized | 35 | lf | 43.7246 | 1530.36
06 - WOOD, PLASTICS & COMPOSITES | 0 |  |  | 646.4
061000.00 - Rough Carpentry | 0 |  |  | 646.4
061100.10 - Blocking | 0 |  |  | 646.4
Blocking; steel construction; walls; 2" x 6" | 72 | lf | 8.9778 | 646.4
07 - THERMAL & MOISTURE PROTECTION | 0 |  |  | 20292.55
072000.00 - Thermal Protection | 0 |  |  | 10631.37
072113.00 - Board Insulation | 0 |  |  | 4088.79
Board insulation; polystyrene; wall; 2" thick, R8.33 | 2475 | sf | 1.652 | 4088.79
072116.00 - Blanket Insulation | 0 |  |  | 6542.58
Batt insulation; wall, fiberglass; unfaced; 4" thick, R11 | 4700 | sf | 1.392 | 6542.58
078000.00 - Fire & Smoke Protection | 0 |  |  | 9661.18
078116.00 - Cementitious Fireproofing | 0 |  |  | 9661.18
Fireproofing; sprayed on; 1" thick; on beams | 387.273 | sf | 3.3803 | 1309.08
Fireproofing; sprayed on; 1" thick; on columns | 120.885 | sf | 3.1513 | 380.94
Fireproofing; sprayed on; 1" thick; on decks; fluted surface | 3125 | sf | 2.5508 | 7971.16
08 - OPENINGS | 0 |  |  | 47699.34
081000.00 - Doors & Frames | 0 |  |  | 20793.55
081213.00 - Hollow Metal Frames | 0 |  |  | 10534.74
Hollow metal frame, stock; 16 ga; 6 3/4" x 1 3/4"; 3'-0" x 7'-0" | 5 | each | 327.762 | 1638.81
Hollow metal frame, stock; 16 ga; 6 3/4" x 1 3/4"; 6'-0" x 7'-0" | 1 | each | 435.35 | 435.35
Hollow metal frame, stock; 16 ga; 4 3/4" x 1 3/4"; sidelight, complete; 1'-0" x 7'-2" | 7 | each | 562.7614 | 3939.33
Hollow metal frame, stock; 16 ga; 5 3/4" x 1 3/4"; 3'-0" x 7'-0" | 13 | each | 317.7615 | 4130.9
Hollow metal frame, stock; 16 ga; 5 3/4" x 1 3/4"; 6'-0" x 7'-0" | 1 | each | 390.35 | 390.35
081313.00 - Hollow Metal Doors | 0 |  |  | 4244.73
Flush hollow metal door; heavy duty, unrated; 18 ga; 1 3/4" thick; 3'-0" x 7'-0" | 7 | each | 606.39 | 4244.73
081416.00 - Flush Wood Doors | 0 |  |  | 6014.08
Wood door; solid core; 1 3/4" thick; birch faced; 3'-0" x 7'-0" | 15 | each | 400.9387 | 6014.08
083000.00 - Specialty Doors & Frames | 0 |  |  | 13738.94
083326.00 - Overhead Coiling Grilles | 0 |  |  | 4896.43
Top coiling grille, manually operated, steel or aluminum; opening; 6' high x 16' wide | 1 | each | 4896.43 | 4896.43
083613.00 - Sectional Doors | 0 |  |  | 8842.51
Sectional metal overhead door, complete; commercial grade; 12' x 12' | 3 | each | 2947.5033 | 8842.51
085000.00 - Windows | 0 |  |  | 1076.75
085123.00 - Steel Windows | 0 |  |  | 1076.75
Steel window, primed; industrial; fixed sash | 18 | sf | 59.8194 | 1076.75
087000.00 - Hardware | 0 |  |  | 12090.1
087100.00 - Door Hardware | 0 |  |  | 12090.1
Hinges; 4" x 4" butts, steel, standard | 33 | pair | 31 | 1023
Latchset, heavy duty; cylindrical | 1 | each | 255.47 | 255.47
Latchset, heavy duty; mortise | 1 | each | 299.75 | 299.75
Lockset, heavy duty; cylindrical | 14 | each | 370.4686 | 5186.56
Mortise locks and latchsets, chrome; entry lockset | 6 | each | 402.2917 | 2413.75
Door closer; surface mounted, traditional type, parallel arm; heavy duty | 7 | each | 415.9386 | 2911.57
09 - FINISHES | 0 |  |  | 103559.14
092000.00 - Plaster & Gypsum Board | 0 |  |  | 46880.74
092213.00 - Metal Furring | 0 |  |  | 6996.89
Metal framing; furring; on walls; 7/8" channel; 16" o.c. | 1987.5 | sf | 3.5204 | 6996.89
092216.00 - Non-Structural Metal Framing | 0 |  |  | 12997.79
Metal framing; studs, non-load bearing, galvanized; 3 5/8"; 20 ga; 16" o.c. | 4700 | sf | 2.7655 | 12997.79
092423.00 - Cement Stucco | 0 |  |  | 609.91
Scratch coat; for ceramic tile | 46.667 | sy | 13.0694 | 609.91
092900.00 - Gypsum Board | 0 |  |  | 26276.15
Drywall; plasterboard; 5/8"; nailed or screwed to walls | 10937.5 | sf | 1.5554 | 17012.52
Drywall; add for fire resistant | 10487.5 | sf | 0.12 | 1258.5
Drywall; add for water resistant | 450 | sf | 0.19 | 85.5
Drywall; add for taping and finishing joints; average | 10937.5 | sf | 0.72408 | 7919.63
093000.00 - Tiling | 0 |  |  | 11835.84
093013.00 - Ceramic Tiling | 0 |  |  | 11835.84
Tile; glazed ceramic wall; 4 1/4" x 4 1/4"; average | 420 | sf | 12.0497 | 5060.86
Tile; glazed ceramic base; 4 1/4" high; average | 105 | lf | 17.7745 | 1866.32
Tile; unglazed ceramic flooring; portland cement bed, cushion edge, face mounted; 2" x 2" | 275 | sf | 17.8497 | 4908.66
095000.00 - Ceilings | 0 |  |  | 18134.16
095113.00 - Acoustical Panel Ceilings | 0 |  |  | 10647.59
Acoustical panels; mineral fiber; 3/4" thick; 2' x 2' | 2920 | sf | 3.6464 | 10647.59
095323.00 - Metal Acoustical Ceiling Suspension Assemblies | 0 |  |  | 7486.57
Ceiling suspension system; T-bar; 2' x 2' | 2920 | sf | 2.5639 | 7486.57
096000.00 - Flooring | 0 |  |  | 22678.02
096513.00 - Resilient Base & Accessories | 0 |  |  | 3375.26
Resilient wall base, vinyl; group 1; 4" high | 690 | lf | 4.8917 | 3375.26
096519.00 - Resilient Tile Flooring | 0 |  |  | 1311.63
Resilient flooring; solid vinyl tile, 1/8" thick, 12" x 12"; solid colors | 140 | sf | 9.3688 | 1311.63
096813.00 - Tile Carpeting | 0 |  |  | 17991.13
Carpet; tile; foam backed; average | 2560 | sf | 7.0278 | 17991.13
099000.00 - Painting & Coating | 0 |  |  | 4030.38
099123.00 - Interior Painting | 0 |  |  | 4030.38
Paint ceilings; spray; first coat; average | 20 | sf | 0.3755 | 7.51
Paint ceilings; spray; second coat; average | 20 | sf | 0.3265 | 6.53
Paint walls; spray; first coat; average | 6735 | sf | 0.30625 | 2062.6
Paint walls; spray; second coat; average | 6735 | sf | 0.29009 | 1953.74
10 - SPECIALTIES | 0 |  |  | 6556.03
102000.00 - Interior Specialties | 0 |  |  | 6556.03
102113.13 - Metal Toilet Compartments | 0 |  |  | 6059.38
Toilet partition; metal; floor mounted | 2 | each | 1036.875 | 2073.75
Toilet partition; wheelchair accessible; painted metal; floor mounted | 2 | each | 1436.875 | 2873.75
Toilet partition; urinal screen; painted metal; floor mounted | 2 | each | 555.94 | 1111.88
102813.00 - Toilet Accessories | 0 |  |  | 496.65
Grab bar, wall mounted; 1 1/2" dia; stainless steel; 36" long | 2 | each | 119.13 | 238.26
Grab bar, wall mounted; 1 1/2" dia; stainless steel; 42" long | 2 | each | 129.195 | 258.39
13 - SPECIAL CONSTRUCTION | 0 |  |  | 352480.71
133000.00 - Special Structures | 0 |  |  | 352480.71
133419.00 - Metal Building Systems | 0 |  |  | 352480.71
Pre-engineered metal building; 100' x 150'; 25' eave height | 14060 | sf | 25.0698 | 352480.71
21 - FIRE SUPPRESSION | 0 |  |  | 70000
210000.00 - Fire Suppression - General | 0 |  |  | 70000
210000.01 - Fire Suppression - Subcontractors | 0 |  |  | 70000
Fire Suppression Quote | 17500 | gsf | 4 | 70000
22 - PLUMBING | 0 |  |  | 131250
220000.00 - Plumbing - General | 0 |  |  | 131250
220000.01 - Plumbing - Subcontractors | 0 |  |  | 131250
Plumbing Quote | 17500 | gsf | 7.5 | 131250
23 - HVAC | 0 |  |  | 183750
230000.00 - HVAC - General | 0 |  |  | 183750
230000.01 - HVAC - Subcontractors | 0 |  |  | 183750
HVAC Quote | 17500 | gsf | 10.5 | 183750
26 - ELECTRICAL | 0 |  |  | 210000
260000.00 - Electrical - General | 0 |  |  | 210000
260000.01 - Electrical - Subcontractors | 0 |  |  | 210000
Electrical Power & Lighting Quote | 17500 | gsf | 12 | 210000
Trade Cost Subtotal |  |  |  | 1508681.49
General Conditions |  |  |  | 105607.7
Construction Cost Subtotal |  |  |  | 1614289.19
Fee |  |  |  | 80714.46
Insurance |  |  |  | 25425.05
1720428.7